## Datacenter by countries
Country | Total Data Center | Hyperscale Data Centers | Colocation Data Centers | Power Capacity Mw Total | Average Renewable Energy Usage Percent | Key Operators | Growth Rate Of Data Centers Percent Per Year | Cooling Technologies Common | Regulatory Challenges Or Limits | Disaster Recovery Sites Common | Green Dc Initiatives Description | Source Of Data
United States | 5426 | 300+ | 2,000+ | 12,000+ | ~27% | Equinix, Digital Realty, CoreSite, AWS | 0.12 | Air, Liquid, Immersion | Power grid strain in VA, moratoriums in some states | Yes, especially for finance/health | Solar, wind PPA, immersion cooling, LEED | Statista, Brightlio, IEA, CBRE
Germany | 529 | 50 | 200 | 2,000+ | 40%+ | Equinix, Digital Realty, e-shelter | 0.08 | Air, Indirect Evap. | Power caps in Frankfurt, strict emissions | Yes, especially for finance | Wind, solar, carbon-neutral push | Statista, CBRE, IEA
United Kingdom | 523 | 30 | 150 | 1,000+ | 0.45 | Equinix, Telehouse, Virtus | 0.07 | Air, Free Cooling | Power grid constraints in London | Yes, especially for finance | Wind, solar, carbon-neutral targets | Statista, CBRE, IEA
China | 449 | 100 | 1,000+ | 8,000+ | 0.25 | China Unicom, Tencent, Alibaba, GDS | 0.15 | Air, Liquid | Power rationing in some provinces | Yes, for government/finance | Hydro, wind, solar, green finance | Statista, CBRE, IEA
France | 322 | 20 | 110 | 700 | 40%+ | Equinix, Interxion, Data4 | 0.06 | Air, Liquid | Power grid constraints in Paris | Yes, for finance/health | Wind, solar, PUE targets | Statista, CBRE, IEA
Canada | 336 | 15 | 100 | 500 | 0.78 | Equinix, Cologix, eStruxture | 0.09 | Air, Liquid, Free Cooling | Power grid constraints in Toronto/Vancouver | Yes, especially for finance/health | Hydro, wind, carbon-neutral push | Statista, CBRE, IEA
Australia | 314 | 20 | 80 | 1,200 | 0.3 | NEXTDC, Equinix, AirTrunk | 0.1 | Air, Liquid, Free Cooling | Power grid constraints in Sydney | Yes, for finance/tech | Solar, wind, carbon-neutral push | Statista, CBRE, IEA
Netherlands | 298 | 15 | 90 | 700 | 0.9 | Equinix, Interxion, NorthC | 0.08 | Air, Liquid, Free Cooling | Moratorium in Amsterdam (lifted 2021) | Yes, especially for finance/tech | Wind, solar, green PUE targets | Statista, CBRE, IEA
Russia | 251 | 10 | 60 | 400 | 0.15 | IXcellerate, DataPro, Rostelecom | 0.06 | Air, Liquid | Data localization, import restrictions | Yes, for government/finance | Some wind/solar pilots, limited scale | Statista, CBRE, IEA
Japan | 222 | 20 | 80 | 1,000 | 0.25 | Equinix, NTT, KDDI, Colt | 0.07 | Air, Liquid, Immersion | Power grid constraints in Tokyo/Osaka | Yes, for finance/tech | Solar, wind, green building codes | Statista, CBRE, IEA
Brazil | 196 | 10 | 100 | 800 | 0.25 | Ascenty, ODATA, Equinix | 0.12 | Air, Liquid | Power grid reliability, taxes | Yes, for finance/health | Solar, wind, green PUE targets | Statista, ResearchAndMarkets, IEA
Singapore | 99 | 15 | 60 | 500 | 0.95 | Equinix, Digital Realty, STT GDC | 0.06 | Liquid, Air, Immersion | Moratorium on new DCs 2019â€“2022, energy caps | Yes, for finance/tech | Solar, seawater cooling, green DC roadmap | Statista, CBRE, IEA
South Africa | 61 | 5 | 30 | 200 | 0.3 | Teraco, Africa Data Centres, NTT | 0.1 | Air, Liquid | Power grid instability, rolling blackouts | Yes, for finance/tech | Solar, wind, off-grid pilots | Statista, Brightlio, IEA
India | 99 | 10 | 50 | 400 | 0.15 | STT GDC, NTT, CtrlS, AWS | 0.18 | Air, Liquid | Power supply, land acquisition | Yes, for BFSI/IT | Solar, wind, green building codes | Brightlio, CBRE, IEA
Mexico | 173 | 8 | 32 | 300 | 45% (target 2030) | KIO Networks, Equinix, Alestra | 0.14 | Air, Liquid | Power availability in Queretaro, supply constraints | Yes, for finance/tech | Solar, wind, green PUE targets | Statista, CBRE, IEA
Sweden | 95 | 6 | 40 | 250 | 0.98 | DigiPlex, Equinix, Bahnhof | 0.08 | Air, Liquid, Free Cooling | Power grid constraints in Stockholm | Yes, for finance/tech | Hydro, wind, carbon-neutral push | Statista, CBRE, IEA
Indonesia | 84 | 3 | 30 | 150 | 0.2 | DCI Indonesia, Telkomsigma, NTT | 0.15 | Air, Liquid | Land and power availability | Yes, for finance/tech | Solar, wind, green building pilots | Statista, CBRE, IEA
Spain | 143 | 5 | 50 | 200 | 0.35 | Interxion, Equinix, Nabiax | 0.07 | Air, Liquid, Free Cooling | Grid constraints in Madrid | Yes, for finance/tech | Solar, wind, carbon-neutral push | Statista, CBRE, IEA
Poland | 144 | 4 | 40 | 120 | 0.25 | Atman, Equinix, Beyond.pl | 0.09 | Air, Liquid | Power grid constraints in Warsaw | Yes, for finance/tech | Wind, solar, green building codes | Statista, CBRE, IEA
Switzerland | 121 | 5 | 30 | 110 | 0.8 | Green Datacenter, Equinix, Interxion | 0.07 | Air, Liquid, Free Cooling | Power grid constraints in Zurich | Yes, for finance/tech | Hydro, wind, carbon-neutral push | Statista, CBRE, IEA
Afghanistan | 2 | 0 | 2 | 1270 | 50 | Afghanistan National Data Center; Alef Tech; Asia Consultancy Group; Pamir Alpha | Unknown | Unknown | Limited infrastructure investment; regulatory instability under Taliban | Unknown | National push for solar/hydro but no direct green DC programs | DataReportal; DatacenterMap; Internet Society; World Bank
Albania | 3 | 0 | 3 | 2730 | 100 | Albanian Telecommunications Union; Tirana DataCom; Pronet | 0.06 | Unknown | Hydro-dependency; land regulation issues for renewables | Unknown | 140â€¯MW Karavasta solar; large hydro; wind projects planned | DataReportal; Internet Society; Lowâ€‘Carbon Power; DatacenterMap; Statista; Globalâ€‘Climatescope
Algeria | 5 | 0 | 5 | 150 | 60 | Algeria Telecom; ICOSNET; Government Data Centers | ~8 (est.) |  | Bureaucratic processes; limited cloud adoption | Unknown | Some basic cold site redundancy (gov) | Investments in AI
Andorra | 1 | 0 | 1 | 20 | Unknown | Data Center @ Laâ€¯Massana (Andorra Telecom) | 0.07 | Unknown | Unknown | Monopoly telco oversight; secure fiber deployment | Unknown | InRow cooling, UPS, HFC227 fire suppression
Angola | 4 | 0 | 4 | 90 | Unknown | Raxio Angola; Paratus Africa; MSTelcom; Angola Cables | ~15% | Unknown | Bureaucratic permits; energy reliability challenges | Some colocation and carrier-neutral redundancy | Groundbreaking AI/data centers; Tier III design solar integration | DataCenterMap; DataCenterDynamics; Angola Cables; Telecomm Angola
Antigua and Barbuda | 1 | 0 | 1 | 10 | Unknown | Government (Parliament basement) | Unknown | Unknown | Government oversight; underway upgrade to EN 50600 Tierâ€¯4 | Replace basement facility with new secure building | New modular Tierâ€¯4 build planned for 2025 | Data News Room; Antigua Observer
Argentina | 34 | 0 | 34 | 100 | Unknown | Arsat, EdgeConneX, Telecom Argentina, G2K, Claro, Cirion, Raxio? | 0.1 | Unknown | Bureaucratic permitting; energy cost variability | Standard colocation redundancy | New builds with modular, sustainable features | DataCenterJournal; DatacenterDynamics; Arizton; Wikipedia; Telecom Argentina slides
Armenia | 6 | 0 | 6 | 60 | Unknown | AIC (Arminco); ADC (Armenian Datacom); GNCâ€‘Alfa/Ovio; VSData Aragatsotn (coming 2025); Rostelecomâ€‘backed AI & AIâ€‘DC Firebird plans | 0.12 | Unknown | Government oversight; energy/permits constraints | Some redundancy & carrier-neutral colocation | MSâ€‘watery spring cooled (VSData); AIâ€‘DC planned 100â€¯MW Firebird; Ovio Tierâ€¯III | DataCenterJournal; DCDyn; ARKA; Wikipedia; VSData; DCDyn
Austria | 68 | 0 | 68 | 450 | Unknown | NTT Global, Digital Realty, A1 (Exoscale), Interxion, Raiffeisen, Nessus, IBM, Tele2, Atos BRZ | 0.05 | Unknown | Strict regulations; high energy/permits cost | Standard redundancy (N+1 etc.) | New campus builds with ISOâ€¯50001, solar roofing, bee habitats | DataCenterJournal; DCDyn; Cloudscene; NTT Vienna; A1 Digital; DatacenterCatalog; Wikipedia
Azerbaijan | 3 | 0 | 3 | 60 | Unknown | PASHA; AzInTelecom (Baku, Yevlakh); AzerTelecom | ~7% growth | Unknown | Government-led expansion; energy access OK; regulatory support | Carrier-neutral redundancy at Tierâ€¯III facilities | Freeâ€‘Cooling at PASHA; solar support; EIBâ€‘backed green design | DataCenterMap; DataCenterDynamics; Wikipedia; PasHA specs
Bahamas | 3 | 0 | 3 | 20 | Unknown | Secure Shore; Cable Bahamas (Nassau & Freeport); Secure Hosting Freeport | Unknown | Unknown | High electricity cost & hurricane preparedness challenges | Disaster-recovery focus (carrier diversity) | Tierâ€¯3 with CRAC/CRAH & redundant UPS/gens; solar backup mentioned | Data sheet from Secure Shore; Cable Bahamas blog; DataCenterMap; Tribune 2017
Bahrain | 5 | 0 | 5 | 110 | Unknown | Telecom & Qareeb, Batelco, Gateway Gulf, STC, Zain | ~10.7% CAGR | Unknown | Strict regulations; energy cost; cable resilience in hurricane season | Carrier-neutral redundancy; DR focus | Tierâ€¯III, free-cooling, 3â€¯MW solar supplement; new facility to be 100% solar-powered | DataCenterDynamics; Khazna; Arizton; DCDyn; Wikipedia
Bangladesh | 20 | 0 | 16 | 180 | Unknown | BCC/BDCCL, Plexus Cloud, DataVolt (planned), Aamra, ANOS, Zipnet, Kloud, DataHub Asia | ~30% CAGR | Unknown | Energy grid strain; high cooling costs in hot, humid climate | Standard redundancy; DR emphasized | BCC Tier IV 200kâ€¯sqâ€¯ft; Plexus 4k; Dhaka ~96k; DataHub 4k, plus small DR sites | Data Portal; BDCCL; DataCenterJournal; Upturn Bangladesh
Barbados | 3 | 0 | 3 | 30 | Unknown | Secure Shore; Cable Bahamas (Nassau & Freeport); Secure Hosting Freeport | Unknown | Unknown | High electricity cost & hurricane resilience focus | Disaster-recovery emphasis (carrier diversity) | Tierâ€¯3 with CRAC/CRAH, redundant UPS & gens; solar backup mentioned | Data from Secure Shore; Cable Bahamas blog; DataCenterMap; Tribune 2017
Belarus | 6 | 0 | 6 | 200 | Unknown | A1 Telekom, BeCloud, Velcom (America Movil), MTS, Datahata, Beltelecom | ~8% growth | Unknown | Government oversight; IT Park regulation; energy access OK | Redundant Tierâ€¯III design; carrier-neutral colocation | Tierâ€¯III facilities with N+1 cooling; 8â€¯MW at A1, 7.2â€¯MW at beCloud; MTS 954â€¯kW | DataCenterMap; Baxtel; DatacenterDynamics; Belarus.by
Belgium | 32 | 0 | 32 | 300 | Unknown | Google, Digital Realty/Interxion, EdgeConneX, LCL, Colt, NTT | ~4% CAGR | Unknown | Strict EU regulations; high energy costs & cooling needs | Carrier-neutral redundancy; N+1 & 2N cooling | New builds include ISOâ€¯50001, solar-power & green campuses | Data from Baxtel (1.25Mâ€¯sqâ€¯ft, 200â€¯MW), DatacenterJournal, DCDyn, cloudscene.com
Belize | 1 | 0 | 1 | 15 | 50 | CIT Office (Govt); Belize National Call Center (private) | Unknown | Unknown | Government telecom partnership; small market | Redundant UPS/generator at BNCC; carrier-neutral links | Small modular/government server rooms; prefabricated DC planning | Data from TradeGov; DC Deployed; Wikipedia; Reddit insight
Benin | 4 | 0 | 4 | 8 | 40 | Alink Telecom; MTN; Isocel Telecom; local modular providers | Unknown | Unknown | Infrastructure grants for IXP; modular build focus | Carrier-neutral links at telco sites | Modular prefab DCs via DC Deployed; basic redundancy | DataCenterPlatform; African IXP Association; Internet Society
Bhutan | 3 | 0 | 3 | 20 | Unknown | Bhutan Innovation Tech Centre GDC; Bhutan DCS (Thimphu TechPark); Bitdeer cryptoâ€‘mine Gedu | Unknown | Unknown | Seismic risk; reliance on hydropower; limited fiber (upgrades planned) | Government colocation & cryptoâ€‘DR focus | 232â€¯mÂ² govâ€™t DC; DCS unspecified but seismicâ€‘hardened; Bitdeer 100â€¯MW facility under test | DataCenterDynamics; The Bhutanese; DataReportal; Internet Society
Bolivia | 3 | 0 | 3 | 90 | Unknown | Entel Bolivia (Elâ€¯Alto), Tigo Business (Santaâ€¯Cruz), Confiared DC3 (Santaâ€¯Cruz) | ~10% growth | Unknown | Fiber expansion nation-wide; high altitude build challenges | Carrier-neutral colocation; DR focus | Tierâ€¯III El Alto & Santaâ€¯Cruz; 4,500â€¯mÂ² Entel; 1,600â€¯mÂ² Confiared Tierâ€¯IV; 17,200â€¯sqâ€¯ft Tigo | DCDyn; Capacity; DataCenterMap; Entel release; Tigo DCDyn; Confiared specs
Bosnia and Herzegovina | 2 | 0 | 2 | 10 | Unknown | University of Sarajevo UCENT and Logosoft Data Center | Unknown | Unknown | Government/institutional ownership; limited market entry | Redundant colocation at Logosoft; basic UPS cooling | UTIC academic DC 11,711â€¯sqâ€¯ft; Logosoft area not disclosed | DataCenterJournal; DataCenterMap
Botswana | 5 | 0 | 5 | Unknown | Unknown | BTC Business; BoFiNet Digital Delta; Orange Business; MTN Gaborone?; Centerserv? | ~10% growth | Unknown | Power reliability & fiber theft issues | Carrier-neutral redundancy; disaster recovery focus | N+1 in-row cooling at BTC; 10,763â€¯sqâ€¯ft TierÂ III Digital Delta; Orange ~1,000â€“1,500â€¯mÂ² | DataCenterDynamics; BTC; DigitalDelta; Datacentermap; Botswana Unplugged
Brunei | 1 | 0 | 1 | Unknown | Unknown | Unified National Networks (UNN) | ~15% growth | Unknown | Government control; bureaucratic approvals | Carrier-neutral redundancy; geoâ€‘redundant design | Prefab 51,000â€¯sqâ€¯ft Tierâ€¯III/IV modular UNN DC (200 racks, ecoâ€‘efficient); Tech Greencloud small colocation | DataCenterDynamics; W.Media; NetworkWorld; Reddit
Bulgaria | 27 | 0 | 27 | Unknown | Unknown | Equinix, Telepoint, Neterra, Daticum, Evolink, S3 Company, ITD Network | ~4% CAGR | Unknown | Strict EU regulations; high energy costs & free-cooling adoption | Carrier-neutral redundancy; N+1 & 2N cooling | New builds include ISOâ€¯50001, solar PV Dallas campus | DataCenterJournal; Baxtel; DatacenterDynamics; Cloudscene
Burkina Faso | 3 | 0 | 3 | Unknown | Unknown | Virtix (Ouaga), BFIX Immeuble du Faso, BFIX Ministere de lâ€™agriculture | ~10% growth | Unknown | Grid/back-up power challenges; telecom tower security | Carrier-neutral connectivity; N+1 redundancy | Wasteâ€‘toâ€‘energy 12â€¯MW DC planned Novâ€¯2025; Virtix 1200â€¯mÂ²; BFIX footprints 26,199â€¯sqâ€¯ft | DataCenterjournal; Datacentermap; DCDyn; Wikipedia solar data
Burundi | 2 | 0 | 2 | Unknown | Unknown | Lacell SU (Smart Burundi); Burundi Backbone System SM | Unknown | Unknown | Very limited electrification (~10%); grid fragility | In-house redundant UPS/gens; no carrier-neutral | 6,308â€¯sqâ€¯ft building footprint (Smart Burundi); BBS site area not disclosed | DataCenterJournal; Wikipedia; Statista
Cambodia | 5 | 0 | 5 | Unknown | Unknown | Chaktomuk Data Center; ByteDC; Kepstar; Sinet; Daun Penh | ~12% growth | Unknown | Government internet gateway control; energy for cooling | Carrier-neutral redundancies; DR-focused | Tier III whitespace: Chaktomuk 123,784â€¯sqâ€¯ft; ByteDC 81,040â€¯sqâ€¯ft; Daun Penh 1,076â€¯sqâ€¯ft; Kepstar projects planned 160,000â€¯sqâ€¯ft+ | DataCenterDynamics; DatacenterMap; Baxtel; Khmer Times; Wikipedia
Cameroon | 2 | 0 | 2 | Unknown | Unknown | Orange Cameroon (Douala); Camtel Zamengoe (YaoundÃ©) | ~8% growth | Unknown | Power stability & grid resilience; high-altitude construction | Carrier-neutral redundancy; DR-focused | Tierâ€¯III whitespace: Orange Douala server 10,800â€¯sqâ€¯ft; Camtel Zamengoe 8,611â€¯sqâ€¯ft (800â€¯mÂ²) | DataCenterDynamics; ITWeb Africa; DatacenterMap; Wikipedia
Cape Verde | 1 | 0 | 1 | Unknown | Unknown | NOSi national DC at Tech Park | Unknown | Unknown | Poor upstream diversity; small market | Government & public-private park focus; DR on SÃ£oâ€¯Vicente | Tierâ€¯II modular gov DC; two new renewable-powered campuses planned | Data from Internet Society Pulse; DCDyn; DatacenterMap; NOSi; Wikipedia
Central African Republic | 0 | 0 | 0 | Unknown | Unknown | Government/UN digital health servers only | Unknown | Unknown | Frequent power outages; no commercial DC market | UN/emergency rack sites only | Infrastructure upgrades planned via CAF backbone; no formal DC | builds
Chad | 2 | 0 | 2 | Unknown | Unknown | Tigo/Flexenclosure; National DC (Huawei/Govt) | ~5.8% CAGR | Unknown | Power instability; low electrification; telecom duopoly | Carrier-neutral redundancy; prefabricated modular focus | 374â€¯mÂ² Togo DC (~4,023â€¯sqâ€¯ft); National DC 500â€¯mÂ²Ã—4 floors = ~21,528â€¯sqâ€¯ft; total â‰ˆ25,551â€¯sqâ€¯ft | DataCenterDynamics; Ecofin/Extensia; Statista; World Bank
Chile | 31 | 0 | 31 | Unknown | Unknown | Ascenty (2 sites), Equinix (4), Cirion, ClaroVTR, EdgeConneX, Google Cloud region, AWS upcoming | ~7% CAGR | Unknown | Strict environmental regs; drought & water-use concerns | Carrier-neutral redundancy; DR features; hyperscale build standards | Ascenty Santiago1:64,600â€¯sqâ€¯ft; Santiago2:226,000â€¯sqâ€¯ft; PIT Chile:11,786â€¯sqâ€¯ft; Equinix ST1â€“ST4:81,000â€¯sqâ€¯ft; EdgeConneX:28,000â€¯sqâ€¯ftâ€ | InvestChile; DatacenterDynamics; Baxtel; DCDyn; Wikipedia; EdgeConneX; Reddit waterâ€‘use threads
Colombia | 31 | 0 | 31 | Unknown | Unknown | Ascenty (2 sites), Equinix (4), Cirion, ClaroVTR, EdgeConneX, Google Cloud region, AWS upcoming | ~7% CAGR | Unknown | Strict environmental regs; drought & water-use concerns | Carrier-neutral redundancy; DR features; hyperscale build standards | Ascenty Santiago1:64,600â€¯sqâ€¯ft; Santiago2:226,000â€¯sqâ€¯ft; PIT Chile:11,786â€¯sqâ€¯ft; Equinix ST1â€“ST4:81,000â€¯sqâ€¯ft; EdgeConneX:28,000â€¯sqâ€¯ftâ€ | InvestChile; DatacenterDynamics; Baxtel; DCDyn; Wikipedia; EdgeConneX; Reddit waterâ€‘use threads
Comoros | 1 | 0 | 1 | Unknown | Unknown | ANRTIC/government | Unknown | Unknown | ISP monopoly; no commercial DC market | Government/UN rack deployment only | Planned national data center (2025); no formal raisedâ€‘floor space | Data from APC; CapMad; Internet Society Pulse
Congo, Democratic Republic of the | 2 | 0 | 2 | Unknown | Unknown | Raxio DRC1; OADC Texaf DRC (Kinshasa) | ~10% growth | Unknown | Power instability; connectivity gaps | Carrier-neutral Tierâ€¯III redundancy; modular prefab design | Raxio 16,598â€¯sqâ€¯ft; OADC white-space 10,764â€¯sqâ€¯ft; total â‰ˆ27,362â€¯sqâ€¯ft | DataCenterDynamics; DCDyn; Raxio spec sheets; Datacenters.com; WIOCC
Congo, Republic of the | 2 | 0 | 2 | Unknown | Unknown | Government ARPCE (Brazzaville 2021), Pointeâ€‘Noire ARPCE (2Africaâ€‘connected) | ~8% growth | Unknown | Low infrastructure investment; centralized control | Tierâ€¯III carrier neutral; government redundancy | 2021 Brazzaville DC (size undisclosed); Pointeâ€‘Noire ARPCE DC: 156â€¯sqâ€¯m (~1,680â€¯sqâ€¯ft); estimated total â‰ˆ3,710â€¯sqâ€¯ft | DataCenterDynamics; ARPCE release; Wikipedia; Internet Society Pulse
Costa Rica | 10 | 0 | 10 | Unknown | Unknown | Data Center Costa Rica; Ufinet EscazÃº; IFX Alajuela; Arena (Bassett AI); RackNation; Servers Lodge; Critical Colocation; Costa Rica Servers; RackNation Curridabat; RackNation San Pedro | ~8â€“12% growth | Unknown | Strict environmental & seismic standards; high-cost energy | Carrier-neutral redundancy; N+1 cooling; DR-ready | Tierâ€¯III whitespace: 45â€¯sqâ€¯ft; Ufinet 4,305â€¯sqâ€¯ft; IFX 8,611â€¯sqâ€¯ft; Arena 281,800â€¯sqâ€¯ft; others small colos (~â€‰â€“50kâ€¯sqâ€¯ft); total â‰ˆ292,761â€¯sqâ€¯ft | DataCenterMap; Datacenters.com; Baxtel; reddit
Côte d'Ivoire | 5 | 0 | 5 | Unknown | Unknown | ST Digital VITIB, Raxio CIV1, Equinix/MainOne, Orange GOS, MTN modular colocation | ~12% CAGR | Unknown | Power grid variability; coastal water scarcity; regulatory oversight | Carrier-neutral redundancy; landing station; DR features | Raxio CIV1:43,055â€¯sqâ€¯ft; Raxio:21,528â€¯sqâ€¯ft white space; Orange:179,000â€¯sqâ€¯ft gross; ST Digital:43,055; MainOne AB1.2: modular; total â‰ˆ146,763â€¯sqâ€¯ft | DataCenterDynamics; Raxio; MainOne/Equinix; ST Digital; Internet Society Pulse
Croatia | 18 | 0 | 18 | Unknown | Unknown | A1 Croatia; PCKâ€‘DataCross; DC North; Croatian Web Hosting; SRCE Zagreb; Hrvatski Telekom | ~5% growth | Unknown | Strict EU building/environmental regs; seismic resilience for Zagreb | Tierâ€¯III carrier-neutral redundancy; Tierâ€¯II regional sites | A1 Zagreb 21,500â€¯sqâ€¯ft; Vipnet footprint 5,759â€¯sqâ€¯ft; SRCE 21,754â€¯sqâ€¯ft; PCKâ€‘KriÅ¾ 17,222â€¯sqâ€¯ft; PCKâ€‘Jastrebarsko 13,993â€¯sqâ€¯ft; DC North VaraÅ¾din 21,528â€¯sqâ€¯ft | DataCenterDynamics; Baxtel; DataCenterJournal; DatacenterMap
Cuba | 1 | 0 | 1 | Unknown | Unknown | ETECSA (state telecom) | Unknown | Unknown | State telecom monopoly; heavy gov control | Carrierâ€‘neutral UPS/generation; basic cooling | No formal raisedâ€‘floor DCs publicly documented; Google installed Global Cache cache servers (~2016) | Data Center Development references; Wikipedia Cuba telecom & Internet; DCDyn news
Cyprus | 2 | 0 | 2 | Unknown | Unknown | Simplex LIM1 (Limassol); Cyta LCA1 (Larnaca) | ~8% growth | Unknown | Government & telco infrastructure oversight; strict compliance | Tierâ€¯III carrier-neutral redundancy; modular N+1 cooling | Simplex LIM1:1,895â€¯sqâ€¯ft; Cyta LCA1:11,000â€¯sqâ€¯ft; total â‰ˆ12,895â€¯sqâ€¯ft | DataCenterMap; DatacenterDynamics; Baxtel
Czechia | 36 | 0 | 36 | Unknown | Unknown | ÄŒeskÃ© Radiokomunikace (8 sites), Seznam.cz (Nagoya, Kokura), Tâ€‘Mobile DC7, TTC Teleport (2+), CE Colo (4), Aruba CZ1, others | ~6% CAGR | Unknown | Strict EU/regional compliance; sustainable energy goals | Carrier-neutral redundancy; modular & prefab freeâ€‘cooling | CRA DC Tower expansion (+1.3â€¯MW); Nagoya & Kokura each 1,200â€¯mÂ² (~12,916â€¯sqâ€¯ft); Tâ€‘Mobile DC7 expansion added 15,070â€¯sqâ€¯ft; Aruba Cloud CZ1:16,146â€¯sqâ€¯ft; TTC Teleport DC2:43,056â€¯sqâ€¯ft; CE Colo DC7:30,139â€¯sqâ€¯ftâ€”total â‰ˆ355,002â€¯sqâ€¯ft | DataCenterDynamics; Baxtel; Datacenters.com; SDxCentral; DCDyn; Aruba Cloud
Denmark | 42 | 0 | 42 | Unknown | Unknown | Apple (Foulum); Meta Odense (2 sites); Google Fredericia; atNorth DEN01; Interxion/Digital Realty; GlobalConnect; JN Data | ~6â€“13% CAGR | Unknown | Strict EU standards; cold-climate cooling; sustainability mandates | Carrier-neutral redundancy; freeâ€‘cooling, direct liquid options | New & upcoming white-space ~1.1Mâ€¯sqâ€¯ft; Apple DC 1.8Mâ€¯sqâ€¯ft gross; Meta Odense 323k + 296kâ€¯sqâ€¯ft; atNorth 29.7kâ€¯sqâ€¯ft whitespace | Data from Baxtel; ResearchAndMarkets; Wikipedia; DataCenterDynamics
Djibouti | 1 | 0 | 1 | Unknown | Unknown | Djibouti Data Center (DDC) by Djibouti Telecom & investors; DjIX colocation | ~10% growth | Unknown | Subsea cable hub; power reliability critical; gov-led infrastructure | Carrier-neutral redundancy; UPS/gens; on-site colocation | Cable Landing Station colocation rooms ~2,690â€¯sqâ€¯ft per floor; no dedicated raised-floor DC; upcoming PAIX JIB1 with 50,000â€¯sqâ€¯ft planned | Data from Djibouti Data Center site; DataCenterDynamics; wearetech.africa
Dominica | 1 | 0 | 1 | Unknown | Unknown | Government (Digicel partnership) | Unknown | Unknown | Hurricane resilience needed; terrain impacts network deployment | Government DC & secondary backup; carrier-neutral rack colocation | Cable landing station racks ~2,690â€¯sqâ€¯ft; no raised-floor DC publicly disclosed | Data from Digital Dominica Q1â€¯2025; DataReportal; Internet Society Pulse; Telecom sector reports
Dominican Republic | 1 | 0 | 1 | Unknown | Unknown | KIO Networks (SDO1 Santo Domingo) | ~7% CAGR | Unknown | Hurricane- and seismic-resistant build; free-tradeâ€‘zoned site | 2â€¯N UPS; 2â€¯N cooling redundancy; diesel gens; raised-floor (~223â€¯mÂ²) |  | Data from Datacenters.com & DatacenterMap
Ecuador | 7 | 0 | 4 | 5 | 30-35% | CNT, GCI, local ISPs | 4 | Air cooling, some energy-efficient | Power reliability, import duties, limited certifications | Hydropower usage, move to energy-efficient tech |  | Telecom reports, regional market studies (2023-2025)
Egypt | 7 | 0 | 4 | 5 | 30-35% | CNT, GCI, local ISPs | 7-10% | Air cooling, some energy-efficient | Power reliability, import duties, limited certifications | 0 | Hydropower usage, move to energy-efficient tech | Telecom reports, regional market studies (2023-2025)
El Salvador | 3 | 0 | 3 | 3 | 20-30% | Claro El Salvador, local ISPs | 5-8% | Air cooling | Power reliability and infrastructure challenges | 0 | Hydropower and geothermal energy usage | Regional telecom reports, market surveys (2023-2025)
Equatorial Guinea | 1 | 0 | 1 | 1 | 12 | Local ISPs, small colocation | 3 | Air cooling | Infrastructure challenges, limited regulations | 0 | Minimal green initiatives, early stage | Telecom reports 2023
Eritrea | 1 | 0 | 1 | 1 | 10 | Local ISPs, small colocation | 2 | Air cooling | Infrastructure and power challenges | 0 | No significant green initiatives | Telecom and regional reports 2023
Estonia | 12 | 1 | 7 | 20 | 45 | Elisa, Telia, Balticom | 8 | Air and liquid cooling | Strict data privacy laws, GDPR compliance | 0 | Strong green initiatives, renewable energy use | European data center reports 2024
Eswatini | 2 | 0 | 1 | 1 | 10 | Local ISPs, small colocation | 3 | Air cooling | Power reliability challenges | 0 | Minimal green initiatives | Telecom reports 2023
Ethiopia | 2 | 0 | 2 | 3 | 15 | Local ISPs, Ethio Telecom | 4 | Air cooling | Power infrastructure and regulatory challenges | 0 | Some early green initiatives | Telecom reports 2023
Fiji | 2 | 0 | 1 | 1 | 20 | Local ISPs, Telecom Fiji | 3 | Air cooling | Power reliability, geographic isolation | 0 | Some use of renewable energy | Telecom and regional reports 2023
Finland | 25 | 4 | 15 | 90 | 60 | Ficolo, Equinix, Telia, DNA | 12 | Air and liquid cooling | Strict data protection laws, sustainability regulations | 0 | Strong green initiatives; extensive renewable energy use | Industry and government reports 2024
Gabon | 3 | 0 | 2 | 3 | 15 | Local ISPs, Gabon Telecom | 4 | Air cooling | Power infrastructure challenges | 0 | Minimal green initiatives | Telecom and regional reports 2023
Gambia | 2 | 0 | 1 | 1 | 12 | Local ISPs, Gambia Telecommunications | 3 | Air cooling | Power reliability issues | 0 | Minimal green initiatives | Telecom reports 2023
Georgia | 8 | 0 | 7 | 20 | ~82 | Local providers: CLOUD9, REDBRIDGEx, WORLDBUS, LABTech, cloudx.ge, CloudBoom, DAC Services | ~10â€“15â€¯% annual growth | Air-economizer, precision AC, evaporative cooling | Low regulation, land/network permitting hurdles, environmental review required | Some DR in Tbilisi-based multi-site providers | No large-scale waste-heat reuse; hydro grid supply (~81â€¯%) | Multiple sources: enSUn, MagtiCom wiki, Caucasus cable wiki, green data center guides :contentReference[oaicite:1]{index=1}
Ghana | 7 | 0 | 6 | 15 | 70 | MDXi (Equinix), Onix, PAIX, NITA | 10 | Air cooling, precision AC, diesel backup | Power reliability & fuel cost issues | Few formal DR sites | Hydro-thermal energy mix, no major green DC initiatives yet | Internet Society, Africa Hyperscalers, Baxtel, Telecom Reports 2024
Greece | 15 | 1 | 15 | 57 | 82 | CloudRock, Digital Realty (Lamdaâ€¯Hellix), Friktoria, Hostmein IKE, Sparkle, Lancom, Synapsecom | 14 | Air cooling, precision AC, economizers | Permitting, grid capacity, environmental compliance | 5 (multiâ€‘city redundancy) | Energy efficiency focus, upcoming GreenMed cable, renewables push | Arizton 2025, ResearchAndMarkets, Wikipedia, GRâ€‘IX
Grenada | 0 | 0 | 0 | 0 | 74 | Digicel, Flow, CCGL | 5 | Air cooling, small precision AC | Power reliability & limited redundancy | Few formal DR sites | GREX IXP; basic connectivity, minimal green initiatives | DataReportal 2025; Internet Society Pulse; Telecom Reports 2024
Guatemala | 5 | 0 | 5 | 5 | 70 | KIO (KIO Guatemala 1), Navegalo, Cloud2Nube, Tigo DC, IPXON | 6 | Air cooling, precision AC, generators | Power reliability, seismic/hurricane risk, permits | Few formal DR sites | Emerging modular Tierâ€¯II/III (Loqui Phaseâ€¯1â€‘2 low-carbon) | KIO brochure, DataCenterMap, Statista 2025, Wikipedia, DCD Latin America
Guinea | 1 | 0 | 1 | 1 | 33.9 | GUILAB S.A. | 8 | Air cooling, precision AC, generators | Power instability, regulatory hurdles, censorship | Few formal DR sites | Minimal green initiatives; ACE cable landing via GUILAB | DatacenterMap, Statista, Wikipedia Telecom, Inflect Conakry
Guinea-Bissau | 0 | 0 | 0 | 0 | 32.5 | MTN, Orange, Guinetel | 3 | Air cooling, small precision AC | Power instability, regulatory rebuilding | Few formal DR sites | No green DC initiatives yet | DataReportal 2025, Internet Society Pulse, WATRA, Telecom Wiki
Guyana | 0 | 0 | 0 | 0 | 37 | GTT, Digicel, ENet | 15 | Air cooling, small precision AC, satellite backup | Power stability, remote connectivity challenges | 1 (upcoming second DR site) | Deep Blue
Haiti | 0 | 0 | 0 | 0 | 39 | Teleco, Natcom, Access Haiti, Hainet, Starlink | 8 | Air cooling, small precision AC, satellite backup | Power instability, political instability & permitting delays | Few formal DR sites | Satellite uptake (Starlink), CARCIP/ECFS cables but no green DCs | DataReportal 2025; Internet Society Pulse; Telecom & Wikipedia 2025
Honduras | 4 | 0 | 4 | 2 | 66 | NavÃ©galo, Tigo DC Evolution, IFX Networks | 8 | Air cooling, precision AC, generators | Power reliability, seismic/hurricane risk, permitting | 1 (primary colocation) | ARCOSâ€‘1, MAYAâ€‘1 submarine + inland GRâ€‘IX DR site | NavÃ©galo site data, Internet Society, DataReportal, DataCenterMap 2025
Hungary | 19 | 0 | 19 | 80 | 25 | T-Systems, Equinix, Digital Realty, 3data, NTT, IXcellerate, Vantage | 4.8 | Air cooling, precision AC, economizers, microgrids | Power constraints, grid capacity, permitting | 5+ (Budapest + regional) | Solar PPA deals & Hungaryâ€™s 25% solar grid mix | CBRE 2025, Cloudscene, GrandViewResearch, Wikipedia, Solar power in Hungary, Reddit
Iceland | 3 | 0 | 3 | 200 | 100 | atNorth, Verne Global, Borealis | 12 | Ambient free cooling, precision AC, geothermal exchange | Energy allocation policy, crypto mining limits, permitting for new cables | 3 (multi-campus HPC/colo clusters) | 100% renewable hydro+geothermal, PUEâ€¯1.05â€“1.2, PPAs & carbon-neutral projects | Country Reports, Data Centers by Iceland, DCI, IT Pro, Verne Global press
Iran | 20 | 0 | 20 | 50 | 25 | Asiatech, Mobinnet, Pars Online, Shatel | 7.1 | Air cooling, precision AC, generators, modular setups | Energy sanctions, censorship, licensing hurdles | 2 (Tehran + regional site) | Large NIN intranet nodes, limited green DC efforts | Statista 2025, DataCenterMap, Wikipedia, ensun.io, communications reports
Iraq | 4 | 0 | 4 | 12 | 79 | AsiaCell DC, FastIraq, iQ Group, Linkdata (Erbil) | 7.1 | Air cooling, precision AC, generators, modular setups | Energy instability, political/regulatory hurdles, censorship | 2 (Baghdad, Erbil) | Fiber backbone via Silk Route & GBI, satellite backup | Statista, Internet Society Pulse, DatacenterMap, Wikipedia, Silk Route network info 2025
Ireland | 80 | 0 | 37 | 710 | 69 | Equinix, Digitalâ€¯Realty, Amazonâ€¯AWS, Google, Microsoft, Vantage | 4.1 | Air cooling, precision AC, economizers, on-site batteries/gas gen | Grid moratorium in Dublin, planning delays, climate impact scrutiny | 5+ (Dublin+Ennis/Cork) | Off-site renewables (wind/solar PPAs), battery projects, heat reuse pilots | Data centre market reports; Financial Times; AP News; ResearchAndMarkets; Wikipedia; INEX documentation
Israel | 31 | 0 | 31 | 250 | 12 | EdgeConnex, Bezeq International, MedOne, Global Technical, Compass, Serverfarm, SDS | 13 | Air cooling, precision AC, economy chillers, N+1 redundancy, microgrids | Energy grid security, land scarcity, permitting delays, telecom regulation | 3+ (Tel Aviv, Beâ€™er Sheva, Haifa) | Enlight solar-powered DCs, microgrids pilots, PPAs, solar rooftops push | Arizton, Mordor Intelligence, Reuters, DCD, Wikipedia
Italy | 168 | ~12 | 52 | 513 | 41 | Aruba, Telecom Italia, Equinix, Digital Realty, Data4, CyrusOne, Vantage, Eni, CloudHQ | 30 | Air cooling, precision AC, economizers, microgrids, closedâ€‘loop & liquid cooling | Grid permitting delays, moratoriums in Milan/Dublin-like zones, energy demand strain | 5+ (Milan, Rome, Arezzo, Turin, Bologna) | PPAs (Aruba, Equinix, DATA4), Eni lowâ€‘carbon DCs, hydroâ€‘solar hybrids | Data from Cloudscene, Arizton, Mordor, PanAm Finance, Reuters, Terna, Reddit
Jamaica | 2 | 0 | 2 | 3 | 46 | eGov (government), Digicel, Flow | 5 | Air cooling, small precision AC, seawater cooling pilot | Power reliability, high cost, permitting | 1 (eGov DR in St Catherine) | Seawater cooling pilot, satellite (Starlink) uptake | Crown data from DCD, Statista, Observer, Wikipedia, Reddit 2023-25
Jordan | 4 | 0 | 4 | 15 | 92 | Zain, Orange Jordan, Umniah Broadband DCs | 7 | Air cooling, precision AC, generators, modular racks | Energy/grid constraints, telecom licensing, cybercrime law censorship | 2 (Amman + Irbid/region) | National fibre backbone, satellite backup, no major green DCs | DataReportal 2025, Internet Society Pulse, DatacenterMap, Wikipedia, Reddit
Kazakhstan | 6 | 0 | 6 | 15 | 93 | Kazakhtelecom, IPNet (Kar-Tel), Tele2-KZ Altel, Kcell | 7 | Air cooling, precision AC, generators, modular racks | Occasional internet shutdowns, energy mix dependency, telecom licensing hurdles | 2 (Nurâ€‘Sultan, Almaty) | NURâ€‘Almaty fibre backbone via Silk Road, satellite backup | Internet Society Pulse 2025, DataReportal 2025, The Economic Times, Wikipedia, WorldData
Kenya | 14 | 0 | 11 | 20 | 41 | Africa Data Centres, Digital Realty/Icolo, Safaricom, IXAfrica, Airtel Africa, MTN, PAIX | 12 | Air cooling, precision AC, adiabatic/liquid cooling pilots, modular setups | Grid reliability, high energy cost, permitting delays | 2 (Nairobi + Mombasa) | TEAMS, 2Africa, EASSy, Inland national fibre backbone, solar pilot projects | DataReportal, Internet Society Pulse, ResearchAndMarkets, Arizton, Credence, Reddit
Kiribati | 0 | 0 | 0 | 0 | 60 | ATHKL (Coconut Wireless) | 5 | Satellite (GEO, HTS), early Starlink LEO | Very high latency, remoteness, regulator delays | Few formal DR sites | Southern Cross NEXT cable landing (Tarawa branch); minimal green DCs; solar-powered community hubs | DataReportal analogues, Wikipedia, TechSources, APNIC Blog, CCK, Kacific, SC Next Cable
Korea, North | 0 | 0 | 0 | 0 | 1 | Koryolink, Mirae (Kwangmyong intranet) | 5 | Satellite and intranet Wiâ€‘Fi (Mirae), 3G/4G intranet | Total censorship, extreme regulation, international sanctions | Few formal DR sites | State intranet nodes only, no DR sites | No green DC initiatives; limited state intranet hubs
Korea, South | 35 | 6 | 35 | 710 | 20 | Samsungâ€¯SDS, LGâ€¯CNS, KTâ€¯Cloud, SKâ€¯Broadband, Naverâ€¯Cloud, Equinix, Digitalâ€¯Realty, AWS, Google, Microsoft | 8.6 | Air cooling, precision & liquid cooling, economizers, on-site batteries/microgrids | Grid capacity strain, land scarcity in Seoul, permitting delays, energy moratoriums | 5+ (Seoul, Busan, Daegu, Daejeon, Incheon) | Solar PPAs (Amazonâ€‘SKâ€‘E&S 60â€¯MW), ZEB building mandates, green data center market USDâ€¯788â€¯M | Datacenter colocation market report; Credence, Mordor, Reuters, Arizton, Wikipedia, Reddit
Kuwait | 35 | 6 | 35 | 710 | 20 | Samsungâ€¯SDS, LGâ€¯CNS, KTâ€¯Cloud, SKâ€¯Broadband, Naverâ€¯Cloud, Equinix, Digitalâ€¯Realty, AWS, Google, Microsoft | 8.6 | Air cooling, precision & liquid cooling, economizers, on-site batteries/microgrids | Grid capacity strain, land scarcity in Seoul, permitting delays, energy moratoriums | 5+ (Seoul, Busan, Daegu, Daejeon, Incheon) | Solar PPAs (Amazonâ€‘SKâ€‘E&S 60â€¯MW), ZEB building mandates, green data center market USDâ€¯788â€¯M | Datacenter colocation market report; Credence, Mordor, Reuters, Arizton, Wikipedia, Reddit
Kyrgyzstan | 1 | 0 | 1 | 2 | 88.5 | Datatime + local ISP racks (Nurtelcom, Alfa, Bitel) | 8 | Air cooling, precision AC, generators, modular racks | Grid disruptions/outages, mountainous terrain, licensing delays | 1 (Bishkek) | NUR backbones + satellite fallback; no green DCs yet | DataReportal, Internet Society Pulse, Datatime press, Statista, Wikipedia
Laos | 3 | 0 | 2 | 5 | 79 | Global DMS/National, LaoDC, Unitel/Lao Telecom | 10 | Air cooling, precision AC, modular setups, satellite fallback | Hydropower variability causing outages, data localization rules, licensing delays | 2 (Vientiane + secondary site) | Cross-border fiber to China/Vietnam/Thailand, SCâ€¯NEXT landing, solarâ€‘hydro hybrid projects | Internet Society Pulse, DataReportal, Reuters 2024, InternetInLaos, DataCenterMap
Latvia | 25 | 0 | 9 | 120 | 42 | DEAC/DLC, Tet, Telenet, SigmaNet, VERnet, Bite One | 6.5 | Air cooling, precision AC, liquidâ€‘cooling pilots (DEAC), economizers | Semiâ€‘annual grid decoupling challenges, permitting, gas fallback during peak | 3 (Riga + Salaspils + regional ISP hub) | LIX, multiple fiber links to Baltics/Nordics, Southernâ€¯Cross NEXT landing, solar farm tieâ€‘ins | Statista, ResearchAndMarkets, DCDriched, Wikipedia, Cloudscene, Reddit network notes
Lebanon | 4 | 0 | 3 | 0 | 92 | Ogero, Alfa, Touch, Berytech SCAL, AdvancedÂ IX, Dotâ€¯SARL | 8 | Air cooling, satellite fallback, basic 3G/4G rigs | Grid instability, fuel shortages, outdated copper, Ogero monopoly, censorship | 0 | Southernâ€‘Europe cable: Iâ€‘MEâ€‘WE, ECFS; Starlink pending license; no green DCs | DataReportal, Internet Society Pulse, Wikipedia, Reddit, Reuters Starlink 2025
Lesotho | 2 | 0 | 2 | 1 | 47 | Vodacom Maseru West & Lekokoaneng | 8â€¯% | Air cooling, basic precision AC, backup generators, modular prefab | Cable landing delays, operator monopoly, power reliability | 0 | Southern Cross NEXT cable (Tarawa branch), Starlink license granted; no green DCs yet | Internet Society Pulse, DataCenterMap, Vodacom listings, CCK, Wikipedia, Reddit
Liberia | 0 | 0 | 0 | 0 | 32 | Lonestar, Orange Liberia, PowerNet, Libtelco | 6 | Air cooling, satellite fallback, CDMA/4G cell, micro-POP hubs | ACE cable outages, rural connectivity challenges, regulatory limits | 0 | Government MoU for future data center & subsea cable; solar mini-hubs emerging | DataReportal 2025; Internet Society Pulse; DCD; Wikipedia ACE; Reuters rural connectivity
Libya | 6 | 0 | 6 | ? | 88 | Alaan, Sadeem, Qabas, LTT colocation sites, Libyan Spider | 7 | Air cooling, precision AC, generators, modular setups | Grid instability, fuel power outages, regulatory monopoly (LPTIC), censorship | 0 | Subsea links via Egypt & AFR-IX to MED cable, planned joint Egypt cables; green DC consortium in planning | DataCenterMap, Internet Society Pulse 2025, Alwasat Libya, Sadeem, STL Partners
Liechtenstein | 5 | 0 | 5 | 2 | 97 | Kyberna Balzers, ICTâ€‘Center Vaduz, SupraNet Eschen, SupraNet Schaan, Speedcom Schaan/Ruggell | 5 | Air cooling, precision AC, economizers, underground fiber loops | High cost of land, planning limits, grid tied to Swiss, cooling constraints | 3 (Vaduz, Balzers, Schaan) | Vaduz IXP, cross-border Swiss fiber, pilot LPWA/Helium IoT, solar rooftop trials | DataReportal 2025, Acronis press, DatacenterMap, IXP.cat, Reddit, TheGlobalEconomy, Wikipedia
Lithuania | 20 | 0 | 12 | 150 | 76 | DEAC, DLC (Delska), Telia, Kilo DC, KV Baltic, Hostex | 12 | Air cooling, precision & liquid cooling, economizers, free ambient cooling | Permitting delays, grid balancing during renewables surge, dataâ€‘centre pact obligations | 3 (Vilnius + Kaunas + KlaipÄ—da) | Kruonis pumpedâ€‘hydro power + NordBalt & LitPol Link cables; offshore wind + solar tieâ€‘ins | Government energy plans, Invest Lithuania, ResearchAndMarkets, Wikipedia, Reddit
Luxembourg | 16 | 0 | 15 | 150 | 100 | LuxConnect, EBRC, BCE, Visual Online, Data4, SecureIT, Portus | 15 | Air cooling, free cooling, biomass cogeneration, waste heat reuse | Regulatory delays (e.g., Google Bissen), land scarcity, high energy demand | 5 (Bettembourg, Bissen, Windhof, Contern, Kayl) | LU-CIX exchange, cross-border fiber to France, Germany, Belgium; EU-funded satellite IRISÂ² project | Invest Luxembourg, ReportLinker, Statista, LU-CIX, DatacenterJournal, Wikipedia
Madagascar | 0 | 0 | 0 | 0 | 0 | None | 0 | Mobile 3G/4G, satellite, Wi-Fi hotspots | High cost of infrastructure, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Malawi | 1 | 0 | 0 | 0 | 0 | None | 0 | Mobile 3G/4G, satellite, Wi-Fi hotspots | High cost of infrastructure, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Malaysia | 34 | 0 | 34 | 566 | 100 | NTT, AirTrunk, Yondr, Microsoft, Google, Alibaba, AWS, Telekom Malaysia, Bridge, Vantage, YTLDC | 13 | Air cooling, liquid cooling, free cooling, solar, battery storage | High construction cost, water scarcity, regulatory complexity | 5 (Johor, Cyberjaya, Kuala Lumpur, Iskandar Puteri, Kulai) | Regional fiber backbone, submarine cables to Singapore, Indonesia, Thailand; 5G rollout underway | InvestKL, MIDA
Maldives | 1 | 0 | 1 | 0 | 0 | None | 0 | Mobile 3G/4G/5G, fiber, satellite | Geographic dispersion, limited local data center capacity | None | None | Internet Society Pulse, DataReportal
Mali | 2 | 0 | 2 | 0 | 0 | None | 0 | Mobile 3G/4G, satellite, Wi-Fi hotspots | High cost of infrastructure, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Malta | 3 | 0 | 3 | 0 | 0 | None | 0 | Mobile 3G/4G/5G, fiber, satellite | High construction cost, water scarcity, regulatory complexity | None | None | Internet Society Pulse, DataReportal
Marshall Islands | 0 | 0 | 0 | 0 | 0 | None | No data | Mobile 2G/3G/4G, satellite | Geographic dispersion, limited local data center capacity | None | None | Internet Society Pulse, DataReportal
Mauritania | 1 | 0 | 0 | 0 | 0 | None | 2.9 | Mobile 3G/4G, fiber, satellite | High cost of infrastructure, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Mauritius | 10 | 0 | 10 | 0 | 0 | None | 0 | Mobile 3G/4G/5G, fiber, satellite | High infrastructure costs, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Micronesia | 1 | 0 | 0 | 0 | 0 | None | 0 | Mobile 3G/4G, satellite | High infrastructure costs, low internet penetration, limited data center adoption | None | None | Internet Society Pulse, DataReportal
Moldova | 7 | 0 | 7 | 0 | 0 | None | 0 | Mobile 3G/4G/5G, fiber, satellite | High infrastructure costs, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Monaco | 3 | 0 | 3 | 0 | 0 | Monaco Telecom | 0 | Mobile 4G/5G, fiber | High infrastructure costs, limited data center adoption | None | None | Internet Society Pulse, DataReportal
Mongolia | 3 | 0 | 3 | 0 | 0 | Information Communications Network LLC, MobiCom Corporation, Skytel Group | 0 | Mobile 3G/4G/5G, fiber, satellite | High infrastructure costs, limited fixed broadband, low data center adoption | None | None | Internet Society Pulse, DataReportal
Montenegro | 0 | 0 | 0 | 0 | 89.8 | Crnogorski Telekom, m:tel, One | 0 | Mobile 4G/5G, fiber, local IXP cache/Satellite fallback | Permitting complexity, limited digital infrastructure, rural-urban divide | 0 | One national IXP, cross-border fiber (Serbia/Croatia), upcoming state DC in Hungary deal | Internet Society Pulse, DataReportal, DCD, Wikipedia, Reddit
Morocco | 4 | 0 | 4 | 25 | 90 | Marocâ€¯Telecom, Inwi, N+One Datacenters, Oracle Labs | 11.2 | Air cooling, precision AC, economizers, solar hybrid pilots | Grid permitting delays, data localization laws, low IXP adoption | 0 | Ouarzazate solar farm power tie-ins, upcoming submarine cables | CNDP law, Arizton, ISOC Pulse, ResearchAndMarkets, Arizton, Wikipedia, Reddit
Mozambique | 7 | 0 | 7 | 7 | 0 | TDM, MOVITEL, Vodacom, mCel, iColo + MozIX | 10 | Air cooling, precision AC, satellite & fiber backup | High cost in rural, limited fixed broadband, periodic outages, low competition | 1 (Maputo with MozIX) | 2Africa, EASSy, SEACOM cables; MozIX peering at MPM1; Starlink license active | DataReportal, Internet Society Pulse, iColo, TDM wiki, Reuters, Reddit
Myanmar | 5 | 0 | 5 | 4 | 41 | Myintâ€¯&â€¯Associates, True IDC, Myanmar ICT Development, Campana Mythic, ATOM/Telenor, Burst (Tierâ€¯4 expired) | 7.25 | Air cooling, precision AC, UPS & generator backup | Strict censorship/laws (Cybersecurity Law 2025), power instability, licensing hurdles | 1 (Yangon DR setups) | Submarine cables: SeaMeWeâ€‘3, SEAâ€‘MEâ€‘WEâ€‘5, AAEâ€‘1; national IX (Yangon MMIX); solar/UPS pilots | Statista, NetworkWorld, DataCenterMap, Wikipedia, RebootMonkey, Zenlayer, Cybersecurity Law :contentReference[oaicite:1]{index=1}
Namibia | 2 | 0 | 2 | 2 | 64.4 | Telecomâ€¯Namibia (iWay), MTC Namibia, Paratus | 4.8 | Air cooling, precision AC, UPS/generators, VSAT fallback | Grid reliability, high data costs, limited fixed broadband, rural divide | 1 (Windhoek) | WACS, Equiano, multiple domestic fiber, Omburu & Karibib solar, Erongo BESS (>58â€¯MW) pilots | DataReportal, Internet Society Pulse, Wikipedia, Theâ€¯Brief, Telecomâ€¯Namibia
Nepal | 7 | 0 | 7 | 4 | 50 | WorldLink (WordLink), Ncell, Nepal Telecom, DishHome, DataWorld, BLC-Yotta, NEA National Data Centre | 7.25 | Air cooling, precision AC, UPS/generators, free cooling pilots | Hydropower variability, cyber/data regulations, power outages, licensing hurdles | 1 (Kathmandu DR setups) | Hydro + solar-rich grid, fiber via India/China, 2 IXPs (NPIX), planned subsea; pilot green DC incentives | DataPulse, DataCenterDynamo, ISOC Pulse, Nepal Telecom, imRenewable, Statista, Reddit
New Zealand | 30 | 0 | 30 | 211 | 96 | CDC Data Centres, DCI, Spark Digital, Datacom, Data Centre 220, NextDC (AK1 under development), Localhost, Chorus, Enable Networks, Vocus | 13.34 | Air cooling, free cooling, liquid immersion pilots, battery storage support | Huge grid pressure (~500â€¯MW in nextâ€¯5â€¯yrs), permitting delays, land/energy cost | 4+ (Auckland, Wellington, Christchurch, Hamilton) | Hydro+wind/solar grid (~85â€¯% renewable), RuakÄkÄ 130â€¯MWâ€¯BESS/solar, Te Waipounamu cable, green hydrogenâ€‘powered AI campus planned | DataReportal, ResearchAndMarkets, Mordor, MinterEllison, Reddit, Wikipedia
Nicaragua | 3 | 0 | 3 | 3 | 71.3 | Tigo Business (Millicom), Claro, Movistar, CooTel/Yota Wiâ€‘Fi hotspots | 6.1 | Air cooling, inâ€‘row cooling, UPS/gensets, satellite fallback | Grid regulatory delays, low fixedâ€‘broadband (~4%), duopoly, rural divide | 1 (Managua â€“ DR-capable) | ARCOSâ€‘1, ENATREL national fiber backbone, planned 5G & rural broadband projects, solar policy support | DataReportal, ISOCâ€¯Pulse, DataCenterMap, Statista, Millicom press
Niger | 1 | 0 | 1 | 2 | 0 |  | 0 | Air cooling, satellite fallback, basic UPS/gensets | Infrastructure cost, limited fixed broadband (~4%), regulatory complexity | ACE cable landing via Benin, Starlink licence pending |  | Internet Society Pulse, DataReportal, WeAreTech Niger DC update
Nigeria | 17 | 0 | 17 | 137 | 48.2 | Rack Centre, Equinix (MainOne), Open Access (OADC), Digital Realty, Africa Data Centres, MTN, Airtel Nxtra, Glo, CCHub | 15.8 | Air cooling, precision AC, UPS/gensets, VSAT fallback | Grid instability, power costs, Right-of-Way taxes, permitting delays, rural divide | 5+ (Lagos, Abuja, Port Harcourt, Kano, Ibadan) | WACS/MAREA/ACE, IXPN exchange, mobile backhaul fiber, Starlink licensed | Sources: Connecting Africa, ResearchAndMarkets, Verified Market Research, Wikipedia, Internet Society Pulse
North Macedonia | 5 | 0 | 5 | 20 | 92 | Makedonski Telekom, A1, Telekom, Orion Telekom, OneÂ Telecom | 7.9 | Air cooling, precision AC, generators, regional free/ambient cooling | Grid permitting, limited IXP adoption, ISP market concentration | 1 (Skopje regional DR) | Cross-border fiber via Open Balkan corridors, 1 IXP, improving submarine transit; growing FTTH rollout, solar pilots | DataReportal, Internet Society Pulse, Statista, Ookla, Wikipedia
Norway | 26 | 0 | 26 | 501 | 98 | Green Mountain, Bulk Infrastructure, STACK Infrastructure, Lefdal Mine, Google, Microsoft, Keysource, Namsos DataSenter | 10.29 | Air cooling, free/fjord cooling, liquid immersion pilots, heat-recovery to district heating, biomass cogeneration | Power-grid constraints, new electricity tax, permitting delays, local planning restrictions | 6+ (Oslo, Kristiansand, Rjukan, Skien, Trondheim, Stavanger) | Renewable grid (98% hydro), North Sea Link + NSEC interconnects, upcoming green hydrogen grid investments, floating offshore wind pilots | DataReportal, ResearchAndMarkets, Reuters, Computer Weekly, Statkraft, Mordor Intelligence, CBRE Norway
Oman | 6 | 0 | 6 | 18 | 95 | Equinix, Ooredoo, Oman Data Park, Cloud Acropolis, Datamount, Gulf Data Hub | 10.3 | Air cooling, water-chillers, CRAC/CRAH, 5â€¯G-ready infrastructure, UPS/generator backup | Omantel monopoly, PDPL data compliance, energy cost, land permitting | 2 (Muscat & Duqm) | Omanâ€“Australia subsea cable + 2Africa branch, inland fiber, 5G roll-out | Sources: ResearchAndMarkets, Arizton, DataReportal, Wikipedia, Reddit_Oman
Pakistan | 22 | 0 | 22 | 1367 | 48.2 | PTCL, Multinet, Transworld, Zong, Jazz, Rack Centre, MainOne/Equinix, Supernet, PTCL, OADC | 4.41 | Air cooling, precision CRAC/CRAH, UPS/gensets, carrier-neutral VXLAN, solar + backup generators | Power cost/tariffs, grid unreliability, high diesel usage, complex regulation, licensing hurdles | 3 (Karachi, Lahore, Islamabad) | WACS/SEAâ€‘MEâ€‘WE 3â€“4/ACE/MAREA, national fiber (Matiariâ€‘Lahore HVDC), Starlink licensed | Sources: Data Center Map, Statista, Pakistan Crypto Council Initiative, Reuters, NetworkWorld, INP/PITB
Palau | 0 | 0 | 0 | 0 | 57.5 | PNCC (ISPs & backbone) | 18.4 | Mobile 4G, VSAT/satellite, upcoming FTTH pilots | Single cable vulnerability, high costs, ISP monopoly | 0 | Echo undersea cable (Q1â€¯2025), one existing cable + satellite backup, FTTH rollout, O-RAN mobile upgrade | Internet Society Pulse, DataReportal, ts2.tech, Wikipedia, Reddit
Panama | 8 | 0 | 8 | 10 | 78 | Tigo/Ericsson, KIO Networks, Cirion, Telecom Italia Sparkle, Cable & Wireless, Cable Onda, Telecarrier | 11.7 | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, limited local caching/regulation, ISP concentration | 2 (Panama City primary colos) | Multiple submarine cables (ARCOSâ€‘1, PANAMEX, MAYAâ€‘1, AMXâ€‘1), 2 IXPs, renewable/hydro energy linkage | Internet Society Pulse, DataReportal, Baxtel, Arizton, Statista, Mordor
Papua New Guinea | 2 | 0 | 2 | 1 | 24 | Digicel PNG, Telikom PNG/Satellite PoPs | 1.8 | Mobile 3G/4G, satellite VSAT, basic UPS/generators | Infrastructure cost, low electrification (~20%), limited fixed broadband (~0.2%), ISP monopoly | 0 (No dedicated DR DCs) | APNGâ€‘2/PCâ€‘1/SubCom CSÂ² cables; Starlink license granted; 3 IXPs | Internet Society Pulse, DataReportal, Statista, CIA Factbook, Ookla
Paraguay | 8 | 0 | 8 | 2 | 83 | Tigo Business (Millicom), IPXON, UfiNet, Centro Nacional de ComputaciÃ³n (CNC) | 12.8 | Air cooling, precision CRAC/CRAH, UPS/gensets, carrier-neutral cache nodes | Grid permitting delays, ISP monopoly/poor competition, low fixed-broadband (~27%), landlocked challenges | 2 (AsunciÃ³n primary colos) | ARCOSâ€‘1, PANâ€‘AM Cable, MAYAâ€‘1, AMXâ€‘1; 2 IXPs (IXpy + CNC); 82% hydroelectric grid; Starlink active | Sources: Internet Society Pulse, DataReportal, Arizton, Wikipedia, DataCenterMap
Peru | 10 | 0 | 10 | 12 | 79.5 | Equinix, Gtd Peru, Nabiax (Actis), Claro, Cirion, Win Empresas, Optical Networks, GTD | 15.6 | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, ISP concentration, limited rural fiber, high energy costs | 2 (Lima primary colos) | SAmâ€‘1, SAC, SPSC/Mistral, FibraOptica al PacÃ­fico; 4+ IXPs; 80% fiber home coverage; rural fiber fund | DataReportal, Arizton, ResearchAndMarkets, BusinessWire, Internet Society Pulse, Statista
Philippines | 21 | 0 | 21 | 497 | 98 | ePLDT, YCO Cloud, SpaceDC, Globe+STT GDC, Digital Edge, Converge ICT, PLDT, DITO Labs, QTC, Beeinfotech, Megawide, EdgeConnex-Aboitiz | 20.8 | Air cooling, precision CRAC/CRAH, UPS/gensets, liquid cooling pilots, green energy initiatives | Grid permitting delays, high power cost, typhoon risk, ISP concentration | 4 (Metro Manila, Cebu, Clark, Davao) | 11+ submarine cables (APRICOT, SEA-H2X, Bifrost, PHâ€‘Australia etc.), multiple IXPs, Starlink rapid expansion | DataReportal, Arizton, Mordor Intelligence, ASEAN Briefing, Wikipedia, Reddit
Portugal | 10 | 0 | 10 | 48 | 85.5 | Altice Portugal (CovilhÃ£), Equinix, AtlasEdge, Merlin/Edged Energy, NOS Sistemas, Quetta, Templus, Startâ€¯Campus etc. | 21.8 | Air cooling, free cooling, liquid immersion pilots, heat recovery, PPA-backed renewables | Grid constraints, water use, permitting delays, talent shortage | 3+ (Lisbon, CovilhÃ£, Sines) | Google Nuvem (2026), 2Africa cables, major national fiber routes, 70â€“80% renewable grid | DataReportal, Arizton, Cushman & Wakefield, ResearchAndMarkets, Statista, Wikipedia, Reddit
Qatar | 13 | 0 | 13 | 120 | 99 | MEEZA, Ooredoo (Mena Digital Hub), Quantum Switch, MEEZA QSTP, Mannai, Gulf Data Hub (new entrant), MEEZA Mâ€‘Vaults | 7.98 | Air cooling, precision CRAC/CRAH, UPS & gensets, AI-optimized cooling pilots, NVidia AI hardware integration | Grid permitting delays, high-cost power, export licensing for chipsets, talent shortage | 3 (Doha primary colos) | Multiple submarine cables (1Asia, Ooredoo-Qatar, upcoming), 2â€“3 IXPs, national fiber, full 5G rollout | DataReportal, Statista, ResearchAndMarkets, FT, TeleReview, Wiki
Romania | 60 | 0 | 60 | 100 | 92 | ClusterPower, NXData, GTS, Telekom Romania, Orange Business, M247, Phoenix, CobraNET | 49 | Air cooling, free cooling via ambient, precision CRAC, generator/UPS backups, heat reuse pilots | Grid permitting delays, seismic risk, power grid limits, talent competition | 5+ (Bucharest, Cluj, Timisoara, Craiova, Sibiu) | Diverse subsea/terrestrial fiber (BlackSeaFocs, KAFOS, MEDNAUTILUS, BSFOCS), major IXPs (InterLAN, RoNIX, DEâ€‘CIX), 50%+ renewable grid, EUâ€‘funded digital infrastructure | DataCenterMap, DCD, Cushman & Wakefield, Romania Insider, GlobeNewswire, ResearchAndMarkets
Rwanda | 4 | 0 | 4 | 2 | 38 | MTN Rwanda, Airtel Rwanda, Liquid Telecom, RINEX/cache hubs | 2.1 | Air cooling, UPS/gensets, satellite/VSAT fallback | Grid cost/affordability issues, low rural uptake, limited fixed broadband (~3%), ISP concentration | 0 | SEACOM via landlink, national fiber (2011), 1 IXP, 5G rollout, planned Ruziziâ€¯III hydro (206â€¯MW) | Internet Society Pulse, TechCabal, DataReportal, Statista, Wikipedia
Saint Kitts and Nevis | 1 | 0 | 1 | 2 | Unknown |  |  | Air cooling, UPS/gensets, satellite fallback | Grid affordability, rural-limited broadband, ISP duopoly | Eastern Caribbean Fiber System, SSCS, Southern Caribbean Fiber, 1 IXP, VSAT backups | DataReportal, ISOC Pulse, DCD, SpeedGEO, Wikipedia
Saint Lucia | 1 | 0 | 1 | 2 | 74 | Government ICT Center (Basseterre) + Flow, CWC, Digicel PoPs | 0.2 | Air cooling, UPS/gensets, satellite/VSAT fallback | Grid affordability issues, ISP duopoly, urbanâ€‘rural connectivity gap | 0 | Eastern Caribbean Fiber System, SSCS, Southern Caribbean Fiber; 1 IXP; local satellite backup; Starlink trial expansion | DataReportal, Internet Society Pulse, ts2.tech, ICTâ€‘Pulse, wiki
Saint Vincent and the Grenadines | 1 | 0 | 1 | 2 | 77.7 | Government ICT Center + Flow, Digicel PoPs | 0.5 | Air cooling, UPS/gensets, satellite/VSAT fallback | Grid affordability issues, ISP duopoly, rural connectivity gap | 0 | Eastern Caribbean Fiber System, SSCS, Southern Caribbean Fiber; 1 IXP; VSAT backups | DataReportal, Internet Society Pulse, ts2.tech
Samoa | 2 | 0 | 2 | 1 | 75 | Digicel Samoa, Vodafone Samoa (SLT subsidiary) | 10.6 | Air cooling, UPS/gensets, VSAT/satellite fallback | High cost, rural coverage issues, ISP duopoly | 0 | APNGâ€‘2 cable via Fiji; 1 IXP; Starlink available via CSL | Internet Society Pulse, DataReportal, TheGlobalEconomy, Reddit
San Marino | 1 | 0 | 1 | 1 | Unknown |  | 0 | Air cooling, precision AC, UPS/gensets, fibreâ€‘fed redundancy | Poor ISP competition, limited local caching (32% of top websites) | Fibre link to Italy (10â€¯Gbps+), redundant links, 4Gâ€“5G mobile; IPv6 <1% | Source: Internet Society Pulse, DataReportal, TIM San Marino Housing
Sao Tome and Principe | 0 | 0 | 0 | 0 | 61.5 | None | 2 | Satellite/VSAT, mobile 3G/4G, basic UPS | Poor ISP competition, limited caching (42%), internet resilience issues | Grid cost, affordability, rural gaps, reliance on ACE cable | 0 | ACE submarine cable (2012), 1 IXP, <1% IPv6, Starlink trials
Saudi Arabia | 36 | 0 | 36 | 345 | 99 | Humain (PIF), stc Center3, Mobily, Gulf Data Hub, DataVolt, Equinix, Quantum Switch, NourNet, Sahara Net, Salam (ITC), Tonumus, EDGNEX etc. | 17.6 | Air cooling, free/fjord cooling, liquid immersion pilots, AI-optimized cooling, UPS/gensets, heat reuse, solar pilots | Grid high load, permitting delays, talent shortage, export controls | 6+ (Riyadh, Jeddah, Dammam, Alâ€‘Khobar, Alâ€‘Ahsa, Neom) | 10+ submarine cables, national fiber backbone, 5G comprehensive, multiple IXPs, Green hydrogen & solar linkage | Sources: Arizton, Mordor Intelligence, FT, IMARC, Globesw, Wikipedia
Senegal | 3 | 0 | 3 | 12 | 60.6 | Tigo/SenConnect (Millicom), Onix Data Centres, Atos Group | 2.3 | Air cooling, precision AC, UPS/gensets, carrier-neutral CLS locations | Grid permitting delays, urban-rural digital divide, affordability issues | 1 (Dakar DR class) | ACE, MainOne, 2Africa cables; Dakar CLS IXP peering; national fiber network expansion | DataReportal, ISOC Pulse, DCD, Onix, Atos
Serbia | 13 | 0 | 13 | 100 | 88 | Telekom Srbija, SBB, Orion Telekom, Mainstream, BeotelNet, PhoenixNAP, Zenlayer, AltusHost, Atos Group | 5.1 | Air cooling, CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, coal-dependent grid transition, talent competition, GDPR alignment challenges | 4+ (Belgrade, NiÅ¡, Kragujevac, VrÅ¡ac) | Dedicated fiber corridors to Vienna/Budapest/Bucharest, national backbone, SOX IXP, 5G rollout | DataReportal, Frontier Compute Partners, Statista, Wikipedia, DatacenterMap
Seychelles | 1 | 0 | 1 | 1 | 87.4 | Airtel Africa Seychelles, Cable & Wireless Seychelles | 1.9 | Air cooling, UPS/gensets, VSAT/satellite fallback | High bandwidth costs, small market size, limited ISP competition, reliance o
Sierra Leone | 1 | 0 | 1 | 1 | 4 |  | 0 | Air cooling, UPS/gensets, VSAT/fiber fallback, Starlink | High cost/infrastructure poverty, rural coverage gaps, ISP concentration, grid unreliability | ACE submarine cable at Freetown; SECOM land-route; national fiber expansion; Starlink approved |  | Internetâ€¯Societyâ€¯Pulse, DataReportalâ€¯2025, DCD, Africell plans, Wikipedia, Reddit
Slovakia | 13 | 0 | 13 | 30 | 92 | DataCube, Perpetuus, Deutsche Telekom, VNET, SITEL, Slovak Telekom | 5.5 | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, reliance on nearby hubs (Prague/Frankfurt), limited domestic hyperscale, telecom competition | 4 (Bratislava x10, KoÅ¡ice, PreÅ¡ov, BanskÃ¡â€¯Bystrica) | Six IXP points (Bratislava & KoÅ¡ice), national fiber rings, peering via Peering.cz & SANET, multiple EU landâ€‘fiber corridors | ResearchAndMarkets, Baxtel, DatacenterMap, Wikipedia, Frontier Compute Partners
Slovenia | 21 | 0 | 21 | 30 | 92 | Softnet, Arnes, Telekom Slovenije, IT Tel, Telemach, Posta Slovenije, DataCube, Perpetuus, VNET, SITEL, PhoenixNAP, Zenlayer, AltusHost | 7 | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots | Grid permitting delays, reliance on nearby hubs (Vienna/Prague), talent competition, GDPR alignment | 4+ (Ljubljana, Maribor, Koper, Nova Gorica) | SIX.SI IXP (2 LOCs)â€”35 members, peak ~180â€¯Gbps; national fiber; Maribor supercomputing/Vega center; FTTP ~76%; 5G rollout | DataCenterMap, Statista, Wikipedia, SIX.SI, ReportLinker
Solomon Islands | 1 | 0 | 1 | 1 | 2 |  | 4 | Air cooling, UPS/gensets, VSAT/satellite backhaul, eCentre cable module | Very poor ISP competition, affordability challenges, rural connectivity gaps, limited IPv6 caching | Coral Seas (ICN2/CSÂ²) submarine cable, PEACE planning, 1 IXP (Honiara), national fiber extensions, Starlink trials |  | DataReportal, Internet Society Pulse, Solomon Star News, DCD on eCentre
Somalia | 11 | 0 | 11 | 10 | 55.2 | Hormuud Telecom, Somtel, Telesom, Golis, Telcom, NationLink | 3.5 | Air cooling, UPS/gensets, solar power, carrier-neutral fiber hubs, VSAT/Starlink fallback | Grid insecurity, ISP concentration, low resilience (27%), data protection compliance, rural connectivity | 0 (new Hormuud DR-grade site in Mogadishu) | EASSy submarine cable, ACE links via Hormuud, national fiber rollout, Starlink availability, planned 5G expansion | DataReportal, Internet Society Pulse, Wikipedia, Garoweâ€¯Online, Bloombergs, DCD, Reddit
South Sudan | 1 | 0 | 1 | 1 | 0 |  | 8 | Air cooling, UPS/gensets, solar-powered towers, VSAT/Starlink fallback, carrier-neutral fibre hub | Grid insecurity & cost, poor ISP competition, low resilience (23%), limited data regulation, rural divide | EASSy cable via Mogadishu, fiber link from Kenya/Uganda to Juba, national fibre and planned Djibouti link, Starlink & 4G/5G rollout |  | DataReportal, Internet Society Pulse, Eye Radio, Wikipedia
Sri Lanka | 4 | 0 | 4 | 25 | 90 | Sri Lanka Telecom NDC, Dialog Pilliyandala, OrionStellar (Digital Realty JV), NSB private dc | 7.45 | Air cooling, precision CRAC/CRAH, free cooling pilots, upcoming liquid immersion, UPS/gensets | Grid permitting delays, ISP monopoly, high energy cost, limited rural fiber | 1 (colocated DR at Dialog site) | Eight submarine cables (SeaMeWeâ€‘3/5, Bharat & others), national fiber, 5G rollout, solar/miniâ€‘hydro energy tieâ€‘ups | DataReportal, Statista, NetworkWorld, Wikipedia, OrionStellar, HostAsia, Reddit
Sudan | 3 | 0 | 3 | 15 | 28.7 | Sudatel, Zain Sudan, MTN Sudan | 1.6 | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Grid insecurity & high inflation, expensive tariffs, ruralâ€‘urban digital divide, low caching (1%), regulatory instability | 0 (singleâ€‘site resilience only) | EASSy submarine cable landing, national fiber via Sudatel, mobile 4G/3G (37.7% 4G coverage), Starlink in use | DataReportal, Statista, ISOC Pulse, Freedom House, Wikipedia, Reddit
Suriname | 1 | 0 | 1 | 1 | 78.4 | Datasur, Telesur, Digicel | 0.9 | Air cooling, UPS/N+1 generators, HVAC, fire suppression/argon systems, redundant cabling | Power cost and reliability, ISP monopoly, limited fiber reach outside Paramaribo, slow fixed broadband speeds | 0 (single site backup via redundant systems) | Single submarine fiber (to Brazil), national fiber expansions (70% OTN), 5G LTE, Starlink used unofficially | DataReportal, Datasur, ISOC Pulse, Wikipedia, Reddit
Syria | 2 | 0 | 2 | 1 | 35.8 |  |  | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Damascus, slow fixed broadband speeds | Single submarine fiber (to Cyprus and Italy via Egypt), national fiber expansions (70% OTN), 5G LTE, Starlink used unofficially |  | DataReportal, Wafa Telecom, ISOC Pulse, Wikipedia, Reddit
Tajikistan | 1 | 0 | 1 | 1 | 56.8 | TT-Mobile, Babilon-T, MegaFon | 0.9 | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Dushanbe, slow fixed broadband speeds | 0 (single site backup via redundant systems) | Single submarine fiber (to Kazakhstan and China), national fiber expansions (70% OTN), 4G LTE, Starlink used unofficially | DataReportal, Statista, ISOC Pulse, Wikipedia, Reddit
Tanzania | 3 | 0 | 3 | 3 | 36.3 |  | 4 | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Dar es Salaam, slow fixed broadband speeds | Multiple submarine cables (EASSy, DARE), national fiber expansions (93% 4G coverage), 5G LTE, Starlink used unofficially |  | DataReportal, Statista, ISOC Pulse, Wikipedia, Reddit
Timor-Leste | 1 | 0 | 1 | 1 | 44.3 |  | 6 | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside Dili, slow fixed broadband speeds | Single submarine fiber (to Darwin, Australia via TLSSC), national fiber expansions (70% OTN), 5G LTE, Starlink used unofficially |  | DataReportal, SACOMTEL, ISOC Pulse, Wikipedia, Reddit
Togo | 1 | 0 | 1 | 1 | 37 | Equiano (Google), WACS (Maroc Telecom) | 3 | Air cooling, UPS/gensets, VSAT/Starlink fallback, mobile tower solar backup | Power cost and reliability, ISP monopoly, limited fiber reach outside LomÃ©, slow fixed broadband speeds | Multiple submarine cables (Equiano, WACS), national fiber expansions (70% OTN), 4G LTE, Starlink used unofficially |  | DataReportal, Togo First, ISOC Pulse, Wikipedia, Reddit
Tonga | 1 | 0 | 1 | 1 | 58.5 | Tonga Cable Limited, Digicel Tonga, TCC (Kacific partner) | -0.4 | Air cooling, UPS/gensets, VSAT/Starlink backup, cable landing eCentre module | Grid vulnerability to cable-breaks, ISP duopoly, low resilience (30%), limited local caching (1%) | 0 (single eCentre with mobile backup) | Single 827â€¯km Tongaâ€“Fiji submarine cable; domestic extension to HaÊ»apai/VavaÊ»u; national fibre loops; 95% 4G coverage; Starlink and Kacific satellite backup trial | DataReportal, ISOC Pulse, DCD, Wikipedia, Guardian, Reddit
Trinidad and Tobago | 5 | 0 | 5 | 15 | 84.7 | Amplia (bmobile), Air Link Networks, Columbus/Flow, TSTT/Bmobile, Massyâ€‘AMPLIA | 2.3 | Air cooling, precision CRAC, UPS/gensets, HFC & fiber backbone redundancy | Grid cost/income affordability, ISP duopoly, limited upstream diversity, low caching (28%) | 0 (all inâ€‘island resilience only) | Five submarine cables (Americas-II, ECFiber, Southern Caribbean, Deep Blue One, Surinameâ€“Guyana); 2 IXPs; national fiber + HFC; 95% 4G, VoLTE, early 5G; Starlink trials | DataReportal, ISOC Pulse, GSMA, Wikipedia, Newsday, Reddit
Tunisia | 6 | 0 | 6 | 60 | 66.8 | Orange Tunisia, Tunisie Telecom (Topnet), Ooredoo Tunisia, HexaByte, GlobalNet, 3S GlobalNet | 10.1 | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling, power redundancy pilots | Grid permitting delays, VDSL2 legacy, ISP monopoly (Topnet/Tunisie Telecom), need massive FTTH upgrades, slow rural connection | 2+ (Tunis, Sousse, Sfax) | 6 submarine cables including Ifriqiya (PEACE), Medusa (by endâ€¯2024), others to Italy/Egypt; national fiber backbone & FTTH pilot (22 projects); early 5G rollout; IPv6 adoption ~20% | DataReportal, Statista, Wikipedia, DCD, ts2.tech, Reidits
Turkey | 32 | 0 | 32 | 120 | 50 | Turkcell, Turk Telekom, Vodafone Turkey, Equinix, EdgeConneX, EDGNEX, Compass Data Centre, Radore, PlusLayer, Netdirekt, Telehouse | 6.5 | Air cooling, precision CRAC/CRAH, freeâ€‘cooling, wasteâ€‘heat capture pilots, UPS/gensets, emerging liquid immersion/Gridâ€‘PPA renewables | Grid permitting delays, earthquake risk, currencyâ€‘insulated power costs, telecom competition, GDPR alignment | 6+ (Istanbul, Ankara, Izmir, Bursa, TekirdaÄŸ, Antalya) | Six+ submarine cables (SEAâ€‘MEâ€‘WEâ€¯3/4/5, Medâ€‘Med, Marmara?), multiple IXPs (Ä°stanbulâ€‘IX, Egeâ€‘IX, Ankaraâ€‘IX), national fiber backbone, full 5G rollout, smartâ€‘city fiber grids, redundancy paths | DataReportal, ResearchAndMarkets, Statista, Wikipedia, Reddit, Wikipedia electricity
Turkmenistan | 1 | 0 | 1 | 1 | 34.9 | Turkmentelecom (incl. Altyn Asyr, ASTU), no private colos | 1.9 | Air cooling, UPS/gensets, satellite/VSAT fallback, containerized colocation module | Grid censorship, monopoly ISP, low IPv6, poor resilience (31%), restricted sites, lack of private investment | 0 (single site in Ashgabat) | Single fiber via Transit-Asia-Europe, no submarine cable; national fiber network; 82% 4G LTE/Arkadag 5G trials; Starlink limited trials | DataReportal, ISOC Pulse, Wikipedia, Reddit insights
Tuvalu | 1 | 0 | 1 | 1 | 5 | MTN Uganda, Airtel Uganda, UTel/UTCL, Roke Telkom (Raxio upcoming DC), Smile Telecom | 1 | Air cooling, UPS/gensets, VSAT/satellite backhaul, compact containerized eCentre | Grid vulnerability to cable loss, ISP monopoly, high cost, low caching (~1%), limited IPv6 adoption | Tuvalu Vaka submarine cable inbound early 2026; national fibre rings; 95% 4G LTE via Kacific satellite backhaul; Starlink available via TTC; ongoing digital-nation initiatives |  | DataReportal, ISOC Pulse, AIFFP, Wikipedia, Reddit
Uganda | 6 | 0 | 6 | 8 | 28 |  | 7.8 | Air cooling, precision CRAC, UPS/gensets, solar-powered towers, carrier-neutral fibre, VSAT/Starlink fallback | Grid cost and affordability (VAT 18% + excise), ISP oligopoly, limited fixedâ€‘fiber outside urban areas, intermittent outages due to regulation/interference | 1 (Raxio DC under construction in Namanve industrial park with DR design) | EASSy submarine cable landing at Mombasaâ€“Kenya route, national fibre backbone via UTL & Roke, 4G (~43%), 3G (~88%), early-stage 5G trials, Starlink access emerging | DataReportal, UCC press, MTN/Wikipedia, Statista, ISOC Pulse, wikipedia
Ukraine | 55 | 0 | 55 | 150 | 82.4 | Ukrtelecom, Kyivstar, Vodafone Ukraine, Lifecell, De Novo, BeMobile, Parkovyi, Tucha, Cosmonova, Zenlayer, NewTelco | 9.55 | Air cooling, precision CRAC/CRAH, UPS/gensets, UPS+backup power banks for home routers, free cooling pilots | Grid disruption from conflict, power shortages, permitting delays, cybersecurity, GDPR alignment | â‰¤6 major metro DR clusters (Kyiv, Kharkiv, Odesa, Lviv, Dnipro, Vinnytsia) | EASSy + Italy/Turkey cables, 55 DCs, 24 IXPs, expanding fiber/GPON (70%+), 94%â€¯4G, 10%â€¯5G by 2025, Starlink & Satcube backup widely used | DataReportal, ISOC Pulse, Statista, Wikipedia, Reddit
United Arab Emirates | 31 | 1 | 31 | 200 | 60 | Global players: e& (Etisalat), du, Equinix, Khazna, Injazat, Gulf Data Hub, Datamena, DC Vaults; Telecoms in-house labs | 17.6 | Air cooling, precision CRAC/CRAH, free cooling, immersion pilots, UPS/battery systems, solar PPAs, heat reuse | Grid permitting, high energy consumption, seismic risk in Fujairah, Telecom competition, data-sovereignty laws | 6+ (Dubai, Abu Dhabi, Fujairah, Sharjah, Ajman, Ras alâ€¯Khaimah) | Dubai-IX, AbuDz-IX, Alfa-IX (Sharjah), Weihua-IX, national fiber backbone metro; six+ submarine cables (SEA-ME-WEâ€¯3/4/5, Medusa, EJ-Middle East); full 5G coverage; smart city grids; Starlink backup; Masdar City green campus | DataReportal, ResearchAndMarkets, MordorIntelligence, AWS blog, Wikipedia, Reuters
Uruguay | 9 | 0 | 9 | 35 | 98 | DATACENTER UY, Antel, Millicom/Claro, Telesur, IBM Uruguay, Equinix partner hubs, UTEcolocation, Huawei edge | 7.91 | Air cooling, precision CRAC, UPS/gensets, free cooling pilots, hydroelectric green energy tie-ins, UPS-backed FTTH households | Grid permitting delays, ISP monopoly (Antel), rural broadband gap, earthquake risk low caching (63%) | 2+ metro clusters (Montevideo with DR, Punta del Este) | Firmina and Monetâ€‘Tannat cables linking USA & Brazil; UNBN national fiber (FTTH ~81%, rural rollout underway); 100% 4G, ~16% 5G; IPv6 ~57%; Starlink available | DataReportal, ISOC Pulse, Trade.gov, Statista, NetMap, Wikipedia, Reddit
Uzbekistan | 3 | 0 | 3 | 8 | 98 | Uztelecom, Ucell, Mobiuz, Beeline Uzbekistan, ITIâ€‘IX/Metrotelecom, carrier-neutral colos emerging | 14 | Tierâ€‘III ISP/dataâ€‘hub rollouts; some Tierâ€‘IV planning | Air cooling, UPS/gensets, precision CRAC in top colos, emerging freeâ€‘cooling pilots | Grid permitting, ruralâ€‘urban divide, Uztelecom monopoly, censorship, FTTB lag outside Tashkent | 3 (Tashkent DR clusters) | Landlocked fiber via Digital Silk Way + Transâ€‘Caspian to Azerbaijan; national fiber network (227kâ€¯km); 100% 4G/3G, early 5G in Tashkent; extensive solar PV integration
Vanuatu | 2 | 0 | 2 | 2 | 35 | Tuvalu Telecommunications Corp (TTC), Pacific Networks/Vodafone, Digicel, Cetelnet | 2 | Air cooling, UPS/gensets, VSAT/Kacific/Starlink backup, containerized eCentre modules | Grid vulnerability to cable-breaks, ISP duopoly, high cost, low caching (~1%), limited IPv6 | 0 (single main site in Port Vila) | Interchange ICN1 & ICN2 cables to Fiji/Solomon Islands, national fibre rings to outer islands, 5G broadband trials (Wave & 3â€¯Link), Kacific and Starlink satellite services | DataReportal, ISOC Pulse, Interchange, DCD, Wikipedia, Reddit
Venezuela | 6 | 0 | 6 | 20 | 44 | CANTV, Movistar, Digitel, Inter, NetUno, SuperCable | 3 | Air cooling, UPS/gensets, precision AC in modern colos, backup generators, satellite fallback | Grid collapse & hyperinflation, power blackouts, ISP monopolies, currency controls, rural coverage gaps | 1 (modern DR-capable colo in Caracas) | Submarine cables (GlobeNet landing at MaiquetÃ­a), domestic interurban fiber, Intelsat/PanAmSat satellite, improving fiber-optic deals, Starlink/VSAT fallback | DataReportal, Wikipedia, GlobeNet submarine operations, ISOC Pulse, Reddit
Vietnam | 32 | 1 | 32 | 145 | 80.7 | Viettel IDC, VNPT, FPT Telecom, CMC Telecom, VNG Cloud, Edge Centres, Data Center First, NTT, STT GDC, Telehouse | 17.9 | Air cooling, precision CRAC/CRAH, UPS/gensets, free cooling pilots, AI/immersion-led designs, solar PPA pilots | Grid permitting delays, ruralâ€‘urban digital divide, dataâ€‘localisation law, telecom/state dominance, censorship | 3+ (Hanoi, Ho Chi Minh City, Da Nang) | Five submarine cables (APG, AAG, IA, SMW3/4), national fiber (227â€¯k km), two IXP hubs, 100% 4G/3G, 5G trial in urban areas, Starlink pilot program | DataReportal, Tuoi Tre, Arizton, ISOC Pulse, Vietnam Briefing, Wikipedia, Reddit
Yemen | 1 | 0 | 1 | 0 | 45 | No AWS/Azure/GCP region (cache/CDN labs only) | 0 | Air cooling, UPS/gensets, VSAT/Starlink backup, Satcube backup | Grid insecurity & airstrike risk, ISP monopoly, censorship, low IPv6 (1%), internet blackouts (~January 2022) | AAEâ€‘1 cable landing at Aden, SEAâ€‘MEâ€‘WEâ€‘5 via Hudaydah, land fiber via YemenTel, GSM 4G from providers, Starlink uptake 28% market share, satellite/fiber fallback |  | DataReportal, ISOCâ€¯Pulse, Wikipedia, DataCenterJournal, Reddit
Zambia | 2 | 0 | 2 | 3 | 33 | Airtel Zambia, MTN Zambia, Zamtel, Liquid Telecom (planned Raxio edge node) | 6.29 | Air cooling, UPS/gensets, VSAT/Starlink fallback, carrier-neutral edge modules | Grid cost & affordability, load shedding, ISP oligopoly, rural/urban coverage gaps, low local caching (~5%) | 0 (single edge sites, no formal DR) | EASSy via Mombasa terrestrial to Zambia, national fiber expansion (ZICTA-regulated), 100% 3G/4G coverage, nascent 5G trials, Starlink increasing in Lusaka and farms | DataReportal, Statista, ISOC Pulse, Wikipedia, Reddit
Zimbabwe | 2 | 0 | 2 | 5 | 3 | No AWS/Azure/GCP region (cache/CDN labs only) | 0 | Air cooling, UPS/gensets, precision AC, satellite/Starlink backup | High internet cost, limited fixed broadband (7.3%), ISP oligopoly, low resilience (32%), high inflation, infrastructure theft | GlobeNet submarine cable landing MaiquetÃ­a route, national fibre backbone (TelOne NBB project), EASSy backâ€‘haul via land; mobile 4G (~82%), 5G trials by NetOne & Econet, Starlink licensed Mayâ€¯2024 |  | DataReportal, ISOCÂ Pulse, Statista, DCD, TelOne Wikis, Reuters, Reddit

## Top_20
Country | Total Data Center | Hyperscale Data Centers | Colocation Data Centers | Power Capacity Mw Total | Average Renewable Energy Usage Percent | Key Operators | Growth Rate Of Data Centers Percent Per Year | Cooling Technologies Common | Regulatory Challenges Or Limits | Disaster Recovery Sites Common | Green Dc Initiatives Description | Source Of Data
United States | 5426 | 300 | 2000 | 12000 | 27 | Equinix, Digital Realty, CoreSite, AWS | 0.12 | Air, Liquid, Immersion | Power grid strain in VA, moratoriums in some states | Yes, especially for finance/health | Solar, wind PPA, immersion cooling, LEED | Statista, Brightlio, IEA, CBRE
Germany | 529 | 50 | 200 | 2000 | 40 | Equinix, Digital Realty, e-shelter | 0.08 | Air, Indirect Evap. | Power caps in Frankfurt, strict emissions | Yes, especially for finance | Wind, solar, carbon-neutral push | Statista, CBRE, IEA
United Kingdom | 523 | 30 | 150 | 1000 | 0.45 | Equinix, Telehouse, Virtus | 0.07 | Air, Free Cooling | Power grid constraints in London | Yes, especially for finance | Wind, solar, carbon-neutral targets | Statista, CBRE, IEA
China | 449 | 100 | 1000 | 8000 | 0.25 | China Unicom, Tencent, Alibaba, GDS | 0.15 | Air, Liquid | Power rationing in some provinces | Yes, for government/finance | Hydro, wind, solar, green finance | Statista, CBRE, IEA
France | 322 | 20 | 110 | 700 | 40 | Equinix, Interxion, Data4 | 0.06 | Air, Liquid | Power grid constraints in Paris | Yes, for finance/health | Wind, solar, PUE targets | Statista, CBRE, IEA
Canada | 336 | 15 | 100 | 500 | 0.78 | Equinix, Cologix, eStruxture | 0.09 | Air, Liquid, Free Cooling | Power grid constraints in Toronto/Vancouver | Yes, especially for finance/health | Hydro, wind, carbon-neutral push | Statista, CBRE, IEA
Australia | 314 | 20 | 80 | 1200 | 0.3 | NEXTDC, Equinix, AirTrunk | 0.1 | Air, Liquid, Free Cooling | Power grid constraints in Sydney | Yes, for finance/tech | Solar, wind, carbon-neutral push | Statista, CBRE, IEA
Netherlands | 298 | 15 | 90 | 700 | 0.9 | Equinix, Interxion, NorthC | 0.08 | Air, Liquid, Free Cooling | Moratorium in Amsterdam (lifted 2021) | Yes, especially for finance/tech | Wind, solar, green PUE targets | Statista, CBRE, IEA
Russia | 251 | 10 | 60 | 400 | 0.15 | IXcellerate, DataPro, Rostelecom | 0.06 | Air, Liquid | Data localization, import restrictions | Yes, for government/finance | Some wind/solar pilots, limited scale | Statista, CBRE, IEA
Japan | 222 | 20 | 80 | 1000 | 0.25 | Equinix, NTT, KDDI, Colt | 0.07 | Air, Liquid, Immersion | Power grid constraints in Tokyo/Osaka | Yes, for finance/tech | Solar, wind, green building codes | Statista, CBRE, IEA
Brazil | 196 | 10 | 100 | 800 | 0.25 | Ascenty, ODATA, Equinix | 0.12 | Air, Liquid | Power grid reliability, taxes | Yes, for finance/health | Solar, wind, green PUE targets | Statista, ResearchAndMarkets, IEA
Singapore | 99 | 15 | 60 | 500 | 0.95 | Equinix, Digital Realty, STT GDC | 0.06 | Liquid, Air, Immersion | Moratorium on new DCs 2019â€“2022, energy caps | Yes, for finance/tech | Solar, seawater cooling, green DC roadmap | Statista, CBRE, IEA
South Africa | 61 | 5 | 30 | 200 | 0.3 | Teraco, Africa Data Centres, NTT | 0.1 | Air, Liquid | Power grid instability, rolling blackouts | Yes, for finance/tech | Solar, wind, off-grid pilots | Statista, Brightlio, IEA
India | 99 | 10 | 50 | 400 | 0.15 | STT GDC, NTT, CtrlS, AWS | 0.18 | Air, Liquid | Power supply, land acquisition | Yes, for BFSI/IT | Solar, wind, green building codes | Brightlio, CBRE, IEA
Mexico | 173 | 8 | 32 | 300 | 45 (target 2030) | KIO Networks, Equinix, Alestra | 0.14 | Air, Liquid | Power availability in Queretaro, supply constraints | Yes, for finance/tech | Solar, wind, green PUE targets | Statista, CBRE, IEA
Sweden | 95 | 6 | 40 | 250 | 0.98 | DigiPlex, Equinix, Bahnhof | 0.08 | Air, Liquid, Free Cooling | Power grid constraints in Stockholm | Yes, for finance/tech | Hydro, wind, carbon-neutral push | Statista, CBRE, IEA
Indonesia | 84 | 3 | 30 | 150 | 0.2 | DCI Indonesia, Telkomsigma, NTT | 0.15 | Air, Liquid | Land and power availability | Yes, for finance/tech | Solar, wind, green building pilots | Statista, CBRE, IEA
Spain | 143 | 5 | 50 | 200 | 0.35 | Interxion, Equinix, Nabiax | 0.07 | Air, Liquid, Free Cooling | Grid constraints in Madrid | Yes, for finance/tech | Solar, wind, carbon-neutral push | Statista, CBRE, IEA
Poland | 144 | 4 | 40 | 120 | 0.25 | Atman, Equinix, Beyond.pl | 0.09 | Air, Liquid | Power grid constraints in Warsaw | Yes, for finance/tech | Wind, solar, green building codes | Statista, CBRE, IEA

## 20_companies
Country | Key Operators
United States | Equinix | Digital Realty | CoreSite
Germany | Equinix | Digital Realty | e-shelter
United Kingdom | Equinix | Telehouse | Virtus
China | China Unicom | Tencent | Alibaba
France | Equinix | Interxion | Data4
Canada | Equinix | Cologix | eStruxture
Australia | NEXTDC | Equinix | AirTrunk
Netherlands | Equinix | Interxion | NorthC
Russia | IXcellerate | DataPro | Rostelecom
Japan | Equinix | NTT | KDDI
Brazil | Ascenty | ODATA | Equinix
Singapore | Equinix | Digital Realty | STT GDC
South Africa | Teraco | Africa Data Centres | NTT
India | STT GDC | NTT | CtrlS
Mexico | KIO Networks | Equinix | Alestra
Sweden | DigiPlex | Equinix | Bahnhof
Indonesia | DCI Indonesia | Telkomsigma | NTT
Spain | Interxion | Equinix | Nabiax
Poland | Atman | Equinix | Beyond.pl

## Future_projects
Continent | Regions | Code | Zones | City | State | Country | Expected date | Latitude | Longitude | Company
Asia | South Asia | IN-VSKP | Visakhapatnam Zone | Visakhapatnam | Andhra Pradesh | India | 2028 | 17.6868 | 83.2185 | Google & Adani ConneX
Asia | East Asia | JP-YOK | Yokohama City | Yokohama | Kanagawa | Japan | 2027 | 35.4437 | 139.638 | Jera
Asia-Pacific | Oceania | AU-SYD | Sydney Metro | Sydney | New South Wales | Australia | 2026 | -33.8688 | 151.2093 | GreenSquareDC
North America | Texas | US-TX-DFW | Bosque County | Valley Mills | Texas | USA | 2028 | 31.6477 | -97.4717 | CyrusOne & Calpine
North America | South USA | US-TX-SG | Stargate Campus | Albuquerque | Texas | USA | 2029 | 32.3199 | -106.7637 | OpenAI & Oracle
North America | Louisiana | US-LA-MON | Monroe | Monroe | Louisiana | USA | 2028 | 32.5093 | -92.1193 | Meta
Europe | Nordic | SE-STH | Stockholm | Stockholm | Stockholm County | Sweden | 2028 | 59.3293 | 18.0686 | Brookfield
Europe | South | PT-SIN | Sines | Sines | Setubal | Portugal | 2029 | 37.9561 | -8.8697 | Start Campus
Europe | Southern Europe | IT-MIL | Milan Metro | Milan | Lombardy | Italy | 2028 | 45.4642 | 9.19 | Apto
Europe | Iberia | ES-PAM | Pamplona | Pamplona | Navarra | Spain | 2029 | 42.8125 | -1.6458 | Campus Data

## AQI_Countries
Sl No | Countries | AQI
1 | Bangladesh | 140
2 | Pakistan | 115
3 | India | 111
4 | Bahrain | 103
5 | Nepal | 100
6 | Egypt | 92
7 | United Arab Emirates | 90
8 | Kuwait | 89
9 | Tajikistan | 89
10 | Kyrgyzstan | 87
11 | Rwanda | 87
12 | Cameroon | 86
13 | China | 86
14 | Laos | 84
15 | Uzbekistan | 82
16 | Congo Kinshasa | 80
17 | Nigeria | 80
18 | Uganda | 80
19 | Mongolia | 79
20 | Burma | 75
21 | Ethiopia | 75
22 | Armenia | 74
23 | Iran | 74
24 | Iraq | 74
25 | Turkmenistan | 72
26 | Bosnia and Herzegovina | 70
27 | Gabon | 70
28 | Kazakhstan | 70
29 | Thailand | 70
30 | North Korea | 69
31 | Sri Lanka | 67
32 | Cote Divoire | 65
33 | Lebanon | 63
34 | Senegal | 63
35 | Azerbaijan | 62
36 | Benin | 62
37 | Ghana | 62
38 | Madagascar | 62
39 | Macedonia | 60
40 | Peru | 60
41 | Turkey | 60
42 | Vietnam | 60
43 | Mexico | 59
44 | Montenegro | 59
45 | Serbia | 59
46 | Guatemala | 58
47 | Indonesia | 58
48 | Saudi Arabia | 58
49 | Gambia | 57
50 | Israel | 57
51 | South Korea | 57
52 | Sudan | 57
53 | Colombia | 56
54 | Kenya | 55
55 | Liberia | 55
56 | Algeria | 54
57 | Georgia | 54
58 | Chile | 53
59 | Taiwan | 53
60 | Zambia | 53
61 | Ecuador | 52
62 | Chad | 51
63 | El Salvador | 51
64 | Cyprus | 50
65 | Mali | 50
66 | South Africa | 50
67 | Venezuela | 50
68 | Cambodia | 49
69 | Czechia | 49
70 | Kosovo | 48
71 | Slovakia | 48
72 | Slovenia | 48
73 | Guinea | 47
74 | Malta | 47
75 | Singapore | 47
76 | Botswana | 46
77 | Cabo Verde | 46
78 | Poland | 46
79 | Brazil | 44
80 | Greece | 44
81 | Hungary | 44
82 | Burkina Faso | 43
83 | Romania | 43
84 | Trinidad And Tobago | 43
85 | Croatia | 42
86 | Philippines | 42
87 | Angola | 41
88 | Ukraine | 41
89 | Albania | 40
90 | Italy | 40
91 | Jordan | 40
92 | Namibia | 40
93 | San Marino | 40
94 | Togo | 40
95 | Lithuania | 38
96 | Curacao | 37
97 | Japan | 37
98 | Russia | 37
99 | Belarus | 36
100 | Costa Rica | 36
101 | French Guiana | 36
102 | Monaco | 36
103 | Spain | 36
104 | Bulgaria | 35
105 | Germany | 35
106 | Argentina | 34
107 | Bolivia | 34
108 | France | 34
109 | Luxembourg | 34
110 | Netherlands | 34
111 | Belgium | 33
112 | Moldova | 33
113 | Portugal | 33
114 | Andorra | 32
115 | Gibraltar | 32
116 | United States | 32
117 | Austria | 31
118 | Guadeloupe | 31
119 | United Kingdom | 31
120 | Reunion | 30
121 | Grenada | 29
122 | Ireland | 29
123 | Jersey | 29
124 | New Zealand | 28
125 | Norway | 28
126 | Canada | 27
127 | Estonia | 27
128 | Puerto Rico | 27
129 | Denmark | 26
130 | Latvia | 26
131 | Switzerland | 26
132 | Liechtenstein | 25
133 | Sweden | 25
134 | Malaysia | 24
135 | New Caledonia | 22
136 | Australia | 21
137 | Finland | 21
138 | Iceland | 21
139 | Brunei | 17
140 | Greenland | 9

## AQI_Cities
Sl No | Cities |  | AQI
1 | New Delhi | India | 169
2 | Greater Noida | India | 166
3 | Noida | India | 161
4 | Ghaziabad | India | 159
5 | Faridabad | India | 154
6 | Gurgaon | India | 154
7 | Bhiwadi | India | 153
8 | Patna | India | 145
9 | Sonipat | India | 145
10 | Muzaffarnagar | India | 144
11 | Rohtak | India | 144
12 | Bhiwani | India | 143
13 | Dhaka | Bangladesh | 140
14 | Kairana | India | 139
15 | Saharsa | India | 139
16 | Bulandshahr | India | 136
17 | Hapur | India | 136
18 | Peshawar | Pakistan | 136
19 | Bankura | India | 135
20 | Lucknow | India | 135
21 | Meerut | India | 135
22 | Panipat | India | 135
23 | Durgapur | India | 134
24 | Asansol | India | 133
25 | Jamuria | India | 133
26 | Kulti | India | 132
27 | Muzaffarpur | India | 131
28 | Saharanpur | India | 131
29 | Begusarai | India | 130
30 | Bhagalpur | India | 130
31 | Hisar | India | 130
32 | Khurja | India | 130
33 | Baharampur | India | 129
34 | Karnal | India | 129
35 | Amritsar | India | 127
36 | Tachov | Czechia | 127
37 | Agartala | India | 126
38 | Kashgar | China | 126
39 | Lahore | Pakistan | 126
40 | Ludhiana | India | 126
41 | Barddhaman | India | 125
42 | Howrah | India | 125
43 | Mauli | India | 125
44 | Patiala | India | 125
45 | Chandigarh | India | 124
46 | Gorakhpur | India | 124
47 | Bali | India | 123
48 | Faizabad | India | 123
49 | Kamarhati | India | 123
50 | Khardah | India | 123
51 | Panihati | India | 123
52 | Rampur | India | 123
53 | Rishra | India | 123
54 | Shrirampur | India | 123
55 | Titagarh | India | 123
56 | Uluberiya | India | 123
57 | Bhadreswar | India | 122
58 | Chandannagar | India | 122
59 | Jalandhar | India | 122
60 | Sitapur | India | 122
61 | Bhatpara | India | 121
62 | Champdani | India | 121
63 | Habra | India | 121
64 | Halisahar | India | 121
65 | Hugli | India | 121
66 | Kalyani | India | 121
67 | Kanchrapara | India | 121
68 | Kharagpur | India | 121
69 | Kothapet | India | 121
70 | Madhyamgram | India | 121
71 | Mahadipur | India | 121
72 | Nabadwip | India | 121
73 | Naihati | India | 121
74 | Shantipur | India | 121
75 | Bansberia | India | 120
76 | Dholka | India | 120
77 | Jaipur | India | 120
78 | Jaynagar Majilpur | India | 120
79 | Kota | India | 120
80 | Krishnanagar | India | 120
81 | Medinipur | India | 120
82 | Sirsa | India | 120
83 | Ahmedabad | India | 119
84 | Churu | India | 119
85 | Khambhat | India | 119
86 | Rajgir | India | 119
87 | Ambala | India | 118
88 | Bangaon | India | 118
89 | English Bazar | India | 118
90 | Fatehpur | India | 118
91 | Godhra | India | 118
92 | Kanpur | India | 118
93 | Kolkata | India | 118
94 | Pali | India | 118
95 | Purnea | India | 118
96 | Tonk | India | 118
97 | Alwar | India | 117
98 | Gaya | India | 117
99 | Aksu | China | 116
100 | Basirhat | India | 116
101 | Belampalli | India | 116
102 | Bikaner | India | 116
103 | Dum Dum | India | 116
104 | Jodhpur | India | 116
105 | Luoyang | China | 116
106 | Rajmahal | India | 116
107 | Vadodara | India | 116
108 | Abohar | India | 115
109 | Bishkek | Kyrgyzstan | 115
110 | Chinchwad | India | 115
111 | Dengtalu | China | 115
112 | Haldia | India | 115
113 | Hebi | China | 115
114 | Ramgundam | India | 115
115 | Xinxiang | China | 115
116 | Fyzabad | India | 114
117 | Islamabad | Pakistan | 114
118 | Khem Karan | India | 114
119 | Malaut | India | 114
120 | Mancheral | India | 114
121 | Mandamari | India | 114
122 | Nandod | India | 114
123 | Sambhal | India | 114
124 | Sikar | India | 114
125 | Jaisalmer | India | 113
126 | Khed | India | 113
127 | Luohe | China | 113
128 | Moradabad | India | 113
129 | Pingdingshan | China | 113
130 | Barasat | India | 112
131 | Bhavnagar | India | 112
132 | Birganj | Nepal | 112
133 | Jiangjiafan | China | 112
134 | Jiaozuo | China | 112
135 | Sihor | India | 112
136 | Surat | India | 112
137 | Adilabad | India | 111
138 | Bhilwara | India | 111
139 | Cuttack | India | 111
140 | Diu | India | 111
141 | Gwalior | India | 111
142 | Navsari | India | 111
143 | Panauti | Nepal | 111
144 | Shuangqiao | China | 111
145 | Xiangyang | China | 111

## Political Stablility
Country | PSG Value 2023 | PoliticalStability PercentileRank 2023 | Countries | PSG Value 2023 | Political Stability Percentile Rank 2023
Cayman Islands | 1.63 | 99.5 | Australia | 0.92 | 79.6
Liechtenstein | 1.61 | 99.1 | Sweden | 0.76 | 73.5
Andorra | 1.58 | 98.6 | United States | 0.03 | 47.4
Greenland | 1.5 | 98.1 | Portugal | 0.71 | 70.6
Aruba | 1.43 | 97.6 | Spain | 0.29 | 55
Singapore | 1.42 | 97.2 | Italy | 0.58 | 64.9
Brunei | 1.37 | 96.7 | Japan | 0.95 | 81.5
New Zealand | 1.36 | 96.2 | India | -0.64 | 21.3
Dominica | 1.29 | 95.7
Iceland | 1.21 | 95.3 | PSG Value = Political Stablity Goverance Value
Cook Islands | 1.2 | 94.8
Barbados | 1.19 | 93.8
Tuvalu | 1.19 | 94.3
Monaco | 1.18 | 93.4
Marshall Islands | 1.18 | 93.4
San Marino | 1.18 | 93.4
American Samoa | 1.11 | 91.9
Anguilla | 1.11 | 91.9
Samoa | 1.1 | 90.5
Kiribati | 1.1 | 91
Tonga | 1.09 | 90
Micronesia | 1.08 | 89.6
Palau | 1.08 | 89.6
Switzerland | 1.07 | 88.6
Macau | 1.07 | 88.2
Luxembourg | 1.05 | 87.7
Botswana | 1.04 | 87.2
Grenada | 1.02 | 86.3
Saint Vincent and the Grenadines | 1.02 | 86.3
Bermuda | 1.02 | 86.7
Bahamas | 1.01 | 84.8
Qatar | 0.99 | 84.4
Costa Rica | 0.98 | 83.9
Bhutan | 0.98 | 83.4
Nauru | 0.98 | 82.9
Czechia | 0.97 | 82.5
Uruguay | 0.96 | 82
Japan | 0.95 | 81.5
Vanuatu | 0.93 | 81
Australia | 0.92 | 79.6
Antigua and Barbuda | 0.92 | 80.6
Saint Kitts and Nevis | 0.92 | 80.6
Ireland | 0.9 | 78.7
Cape Verde | 0.9 | 79.1
Norway | 0.89 | 77.7
Guam | 0.89 | 78.2
Saint Lucia | 0.87 | 77.8
Malta | 0.86 | 77.3
Denmark | 0.85 | 76.8
Canada | 0.82 | 76.3
Slovenia | 0.82 | 75.8
Laos | 0.81 | 75.4
Mauritius | 0.78 | 74.9
Taiwan | 0.76 | 74.4
Sweden | 0.76 | 73.5
Seychelles | 0.76 | 73.9
Lithuania | 0.74 | 72.5
Fiji | 0.74 | 73
Hungary | 0.73 | 72
Austria | 0.73 | 71.6
Portugal | 0.71 | 70.6
Finland | 0.71 | 71.1
United Arab Emirates | 0.68 | 70.1
Hong Kong | 0.67 | 69.7
Netherlands | 0.66 | 68.7
Estonia | 0.66 | 69.2
South Korea | 0.61 | 68.2
Croatia | 0.6 | 67.8
Germany | 0.59 | 66.4
Oman | 0.59 | 65.9
Mongolia | 0.59 | 67.3
Latvia | 0.59 | 66.8
Belize | 0.59 | 65.4
Italy | 0.58 | 64.9
Slovakia | 0.57 | 64.5
Poland | 0.56 | 64
Namibia | 0.54 | 63.5
Maldives | 0.53 | 62.6
United States Virgin Islands | 0.53 | 63
United Kingdom | 0.51 | 62.1
Puerto Rico | 0.51 | 61.1
Martinique | 0.51 | 61.6
Solomon Islands | 0.45 | 60.7
Sao Tome and Principe | 0.44 | 60.2
Kuwait | 0.41 | 58.8
Cyprus | 0.41 | 59.2
Suriname | 0.41 | 59.7
Belgium | 0.4 | 58.3
Trinidad and Tobago | 0.4 | 57.8
Cuba | 0.38 | 56.9
Jamaica | 0.38 | 57.3
Romania | 0.37 | 56.4
France | 0.34 | 55.9
Bulgaria | 0.34 | 55.5
Spain | 0.29 | 55
Timor-Leste | 0.26 | 54.5
Dominican Republic | 0.24 | 53.6
Greece | 0.24 | 54
French Guiana | 0.23 | 53.1
Panama | 0.21 | 52.6
Zambia | 0.2 | 52.1
Albania | 0.18 | 51.7
Malaysia | 0.17 | 50.7
North Macedonia | 0.17 | 51.2
Chile | 0.14 | 50.2
Rwanda | 0.11 | 49.8
Paraguay | 0.08 | 49.3
Montenegro | 0.07 | 48.8
Reunion | 0.05 | 48.3
Cambodia | 0.04 | 47.9
United States | 0.03 | 47.4
Republic of the Congo | 0.02 | 46.9
Gambia | -0.01 | 46
Ghana | -0.02 | 45.5
Vietnam | -0.04 | 45
Serbia | -0.04 | 44.5
Tanzania | -0.05 | 44.1
Guyana | -0.06 | 43.6
Turkmenistan | -0.11 | 43.1
Liberia | -0.12 | 42.7
Argentina | -0.13 | 41.7
Nicaragua | -0.13 | 42.2
Senegal | -0.14 | 41.2
Uzbekistan | -0.15 | 40.8
Jordan | -0.2 | 40.3
Saudi Arabia | -0.21 | 39.8
Nepal | -0.23 | 39.3
Comoros | -0.23 | 38.9
Malawi | -0.24 | 37.9
Guatemala | -0.24 | 37
Sierra Leone | -0.24 | 37.4
Equatorial Guinea | -0.24 | 38.4
Kazakhstan | -0.27 | 36.5
Thailand | -0.28 | 36
Bolivia | -0.31 | 35.1
Lesotho | -0.31 | 35.5
Guinea-Bissau | -0.33 | 34.1
Angola | -0.34 | 32.2
Ecuador | -0.34 | 32.7
Georgia | -0.34 | 33.2
Gabon | -0.34 | 33.6
Benin | -0.35 | 31.8
Bosnia and Herzegovina | -0.35 | 31.3
Eswatini | -0.36 | 30.8
Morocco | -0.37 | 29.9
North Korea | -0.37 | 30.3
Bahrain | -0.37 | 29.4
Indonesia | -0.4 | 28.9
Brazil | -0.41 | 28.4
Honduras | -0.46 | 28
Tajikistan | -0.47 | 27.5
Papua New Guinea | -0.48 | 27
Kyrgyzstan | -0.48 | 26.5
Mauritania | -0.5 | 26.1
China | -0.51 | 25.1
Sri Lanka | -0.51 | 25.6
Peru | -0.52 | 24.2
Djibouti | -0.52 | 24.6
Philippines | -0.57 | 23.7
Algeria | -0.58 | 23.2
Mexico | -0.63 | 22.7
Ivory Coast | -0.63 | 21.8
Tunisia | -0.63 | 22.3
India | -0.64 | 21.3
South Africa | -0.67 | 20.9
Moldova | -0.68 | 20.4
Madagascar | -0.69 | 19.9
Uganda | -0.7 | 19.4
Colombia | -0.72 | 19
Azerbaijan | -0.73 | 18
Belarus | -0.73 | 18.5
Eritrea | -0.79 | 17.5
Armenia | -0.83 | 17.1
Egypt | -0.87 | 16.6
Guinea | -0.88 | 16.1
Bangladesh | -0.91 | 15.6
Zimbabwe | -0.93 | 15.2
Kenya | -0.94 | 14.7
Togo | -0.95 | 14.2
Turkey | -1.01 | 13.7
Russia | -1.13 | 13.3
Burundi | -1.17 | 12.8
Venezuela | -1.19 | 12.3
Mozambique | -1.27 | 11.8
Cameroon | -1.4 | 11.4
Ukraine | -1.43 | 10.9
Haiti | -1.43 | 10.4
Israel | -1.46 | 10
Lebanon | -1.52 | 9.5
Chad | -1.56 | 9
Niger | -1.67 | 8.5
Iran | -1.69 | 8.1
Nigeria | -1.77 | 7.6
Palestine | -1.87 | 7.1
Pakistan | -1.93 | 6.6
Ethiopia | -1.97 | 6.2
DR Congo | -2.04 | 5.2
Burkina Faso | -2.04 | 5.7
Myanmar | -2.13 | 4.7
Libya | -2.17 | 4.3
South Sudan | -2.19 | 3.8
Central African Republic | -2.2 | 3.3
Somalia | -2.38 | 2.8
Iraq | -2.41 | 2.4
Sudan | -2.47 | 1.9
Afghanistan | -2.48 | 1.4
Yemen | -2.56 | 0.9
Mali | -2.73 | 0.5
Syria | -2.75
El Salvador |  | 46.4